Console-xgboost features + sequence embeddings from cnn 7.5 ms event-length filter with downsampling

2 CNN layers, dropout 0.4

Downsampling of data used in XGBoost classification

(tf-macos) bakrantz@Bryans-MacBook-Pro xgboost-classifier-with-features-and-sequence-embeddings % python peptide-classifier-xgboost-cnn-sequence-embeddings-and-features.py

Successfully imported database classes.

Peptides to include in model: ['guesthost_Ala', 'guesthost_Leu', 'guesthost_Phe', 'guesthost_Thr', 'guesthost_Trp', 'guesthost_TrpDL', 'guesthost_Tyr']

Processing parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

--- Loading data for CNN Embedding Training (with downsampling) ---

Attempting to load raw database from: /Users/bakrantz/Documents/python/database/peptide_data.json

Attempting to load processed events database from: /Users/bakrantz/Documents/python/database/peptide_events_data.json

--- Starting Data Loading/Processing from Databases ---

Searching for data for Peptide: guesthost_Ala

Found 17 matching records for query: {'peptide_name': 'guesthost_Ala', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 17 raw records for 'guesthost_Ala'.

Handling raw record: 11629000-guesthost_Ala-70_mV-400_Hz.csv (ID: 56ce1594)

Existing processed record found: guesthost_Ala_56ce1594_928798e3a7d451be.pkl (ID: 172a5e9c)

Initialized PeptideTranslocationEvents for raw record ID: 56ce1594-b7ef-4cfa-b6b8-840b10664281 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_56ce1594_928798e3a7d451be.pkl

Events and features accumulated for raw record 56ce1594: 19

Handling raw record: 11629004-guesthost_Ala-70_mV-400_Hz.csv (ID: 6d94fa8e)

Existing processed record found: guesthost_Ala_6d94fa8e_928798e3a7d451be.pkl (ID: 554c55af)

Initialized PeptideTranslocationEvents for raw record ID: 6d94fa8e-6b47-40da-8a51-c171527bb4d8 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_6d94fa8e_928798e3a7d451be.pkl

Events and features accumulated for raw record 6d94fa8e: 192

Handling raw record: 11729001-guesthost_Ala-70_mV-400_Hz.csv (ID: 38e7ada8)

Existing processed record found: guesthost_Ala_38e7ada8_928798e3a7d451be.pkl (ID: 2bbc22d3)

Initialized PeptideTranslocationEvents for raw record ID: 38e7ada8-2b2b-4bde-8bbf-c00e09b30e96 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_38e7ada8_928798e3a7d451be.pkl

Events and features accumulated for raw record 38e7ada8: 519

Handling raw record: 11729003-guesthost_Ala-70_mV-400_Hz.csv (ID: 004090f6)

Existing processed record found: guesthost_Ala_004090f6_928798e3a7d451be.pkl (ID: 0dc095d1)

Initialized PeptideTranslocationEvents for raw record ID: 004090f6-0a01-4e2c-b769-a8bdf59a69bf (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_004090f6_928798e3a7d451be.pkl

Events and features accumulated for raw record 004090f6: 624

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 81590dcf)

Existing processed record found: guesthost_Ala_81590dcf_928798e3a7d451be.pkl (ID: 2092790e)

Initialized PeptideTranslocationEvents for raw record ID: 81590dcf-c098-4b80-afa6-90b5260acdda (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_81590dcf_928798e3a7d451be.pkl

Events and features accumulated for raw record 81590dcf: 850

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 6bf79e43)

Existing processed record found: guesthost_Ala_6bf79e43_928798e3a7d451be.pkl (ID: 304f76a6)

Initialized PeptideTranslocationEvents for raw record ID: 6bf79e43-3682-4c79-8eb8-7238058d233b (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_6bf79e43_928798e3a7d451be.pkl

Events and features accumulated for raw record 6bf79e43: 1153

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_3.csv (ID: a0852287)

Existing processed record found: guesthost_Ala_a0852287_928798e3a7d451be.pkl (ID: 877f7624)

Initialized PeptideTranslocationEvents for raw record ID: a0852287-39e6-4acd-8c7f-c96248cc55d3 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_a0852287_928798e3a7d451be.pkl

Events and features accumulated for raw record a0852287: 1317

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_4.csv (ID: d6422446)

Existing processed record found: guesthost_Ala_d6422446_928798e3a7d451be.pkl (ID: e601c3b4)

Initialized PeptideTranslocationEvents for raw record ID: d6422446-177a-4c8e-9fa8-b73c4e2cd2b4 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_d6422446_928798e3a7d451be.pkl

Events and features accumulated for raw record d6422446: 1608

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_5.csv (ID: 4bdc3f31)

Existing processed record found: guesthost_Ala_4bdc3f31_928798e3a7d451be.pkl (ID: 831e8f26)

Initialized PeptideTranslocationEvents for raw record ID: 4bdc3f31-63ae-41ef-8b1d-19cbff4bbf62 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_4bdc3f31_928798e3a7d451be.pkl

Events and features accumulated for raw record 4bdc3f31: 1813

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_6.csv (ID: e6953ea3)

Existing processed record found: guesthost_Ala_e6953ea3_928798e3a7d451be.pkl (ID: 72c75231)

Initialized PeptideTranslocationEvents for raw record ID: e6953ea3-681a-45d2-99f2-867f74d7fe74 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_e6953ea3_928798e3a7d451be.pkl

Events and features accumulated for raw record e6953ea3: 2086

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_7.csv (ID: d6d19a08)

Existing processed record found: guesthost_Ala_d6d19a08_928798e3a7d451be.pkl (ID: 49178633)

Initialized PeptideTranslocationEvents for raw record ID: d6d19a08-001a-43f5-9a1e-764c8b08fa73 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_d6d19a08_928798e3a7d451be.pkl

Events and features accumulated for raw record d6d19a08: 2158

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_8.csv (ID: 7f53861e)

Existing processed record found: guesthost_Ala_7f53861e_928798e3a7d451be.pkl (ID: 04025bb7)

Initialized PeptideTranslocationEvents for raw record ID: 7f53861e-ae4f-40fb-af6c-4a41ebe8cbe8 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_7f53861e_928798e3a7d451be.pkl

Events and features accumulated for raw record 7f53861e: 2240

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_9.csv (ID: 4050de7c)

Existing processed record found: guesthost_Ala_4050de7c_928798e3a7d451be.pkl (ID: 85aba58e)

Initialized PeptideTranslocationEvents for raw record ID: 4050de7c-2a75-42cf-a395-1bda1ac12aed (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_4050de7c_928798e3a7d451be.pkl

Events and features accumulated for raw record 4050de7c: 2311

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_1.csv (ID: b72a4839)

Existing processed record found: guesthost_Ala_b72a4839_928798e3a7d451be.pkl (ID: 950b7955)

Initialized PeptideTranslocationEvents for raw record ID: b72a4839-27f1-4fc2-8fc9-32989821e0de (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_b72a4839_928798e3a7d451be.pkl

Events and features accumulated for raw record b72a4839: 2470

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 42bf3ec3)

Existing processed record found: guesthost_Ala_42bf3ec3_928798e3a7d451be.pkl (ID: f3672f67)

Initialized PeptideTranslocationEvents for raw record ID: 42bf3ec3-d895-42ec-9586-ef8aaf18c450 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_42bf3ec3_928798e3a7d451be.pkl

Events and features accumulated for raw record 42bf3ec3: 2510

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 9c628142)

Existing processed record found: guesthost_Ala_9c628142_928798e3a7d451be.pkl (ID: 7210dad3)

Initialized PeptideTranslocationEvents for raw record ID: 9c628142-887f-49d3-bd6d-d202cda0af7d (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_9c628142_928798e3a7d451be.pkl

Events and features accumulated for raw record 9c628142: 2734

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_4.csv (ID: ada61fa6)

Existing processed record found: guesthost_Ala_ada61fa6_928798e3a7d451be.pkl (ID: 3fd042e3)

Initialized PeptideTranslocationEvents for raw record ID: ada61fa6-cb80-49bd-a668-7572703bdd3f (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_ada61fa6_928798e3a7d451be.pkl

Events and features accumulated for raw record ada61fa6: 3019

Total events accumulated for guesthost_Ala: 3019

Searching for data for Peptide: guesthost_Leu

Found 13 matching records for query: {'peptide_name': 'guesthost_Leu', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 13 raw records for 'guesthost_Leu'.

Handling raw record: 11627000-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 4c0fb932)

Existing processed record found: guesthost_Leu_4c0fb932_928798e3a7d451be.pkl (ID: 4606877b)

Initialized PeptideTranslocationEvents for raw record ID: 4c0fb932-91a1-44f6-b189-337a076ce9cd (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_4c0fb932_928798e3a7d451be.pkl

Events and features accumulated for raw record 4c0fb932: 29

Handling raw record: 11627000-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 696fa3b8)

Existing processed record found: guesthost_Leu_696fa3b8_928798e3a7d451be.pkl (ID: e4b38942)

Initialized PeptideTranslocationEvents for raw record ID: 696fa3b8-5a6d-49d4-8e05-78a123e23004 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_696fa3b8_928798e3a7d451be.pkl

Events and features accumulated for raw record 696fa3b8: 75

Handling raw record: 11627001-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 9a7c28f4)

Existing processed record found: guesthost_Leu_9a7c28f4_928798e3a7d451be.pkl (ID: 56f626df)

Initialized PeptideTranslocationEvents for raw record ID: 9a7c28f4-052c-49b7-8d9b-51b98fd9d408 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_9a7c28f4_928798e3a7d451be.pkl

Events and features accumulated for raw record 9a7c28f4: 88

Handling raw record: 11627001-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 983d60b9)

Existing processed record found: guesthost_Leu_983d60b9_928798e3a7d451be.pkl (ID: 9f7f1402)

Initialized PeptideTranslocationEvents for raw record ID: 983d60b9-868c-42d6-93ff-331b6540a9f3 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_983d60b9_928798e3a7d451be.pkl

Events and features accumulated for raw record 983d60b9: 130

Handling raw record: 11627001-guesthost_Leu-70_mV-400_Hz-rpt_3.csv (ID: fed8a325)

Existing processed record found: guesthost_Leu_fed8a325_928798e3a7d451be.pkl (ID: 97928293)

Initialized PeptideTranslocationEvents for raw record ID: fed8a325-7ca8-49c5-8542-e17e836bd5f7 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_fed8a325_928798e3a7d451be.pkl

Events and features accumulated for raw record fed8a325: 187

Handling raw record: 11627002-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 711a18a9)

Existing processed record found: guesthost_Leu_711a18a9_928798e3a7d451be.pkl (ID: 01967b11)

Initialized PeptideTranslocationEvents for raw record ID: 711a18a9-ab75-40e7-a176-33e5191ed407 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_711a18a9_928798e3a7d451be.pkl

Events and features accumulated for raw record 711a18a9: 276

Handling raw record: 11627002-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 04033d47)

Existing processed record found: guesthost_Leu_04033d47_928798e3a7d451be.pkl (ID: c4023ca0)

Initialized PeptideTranslocationEvents for raw record ID: 04033d47-b5f7-4e96-aaf6-eecd72d156ad (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_04033d47_928798e3a7d451be.pkl

Events and features accumulated for raw record 04033d47: 357

Handling raw record: 11627002-guesthost_Leu-70_mV-400_Hz-rpt_3.csv (ID: 5181603d)

Existing processed record found: guesthost_Leu_5181603d_928798e3a7d451be.pkl (ID: 34f5b921)

Initialized PeptideTranslocationEvents for raw record ID: 5181603d-d79e-4738-9225-b93051215dbb (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_5181603d_928798e3a7d451be.pkl

Events and features accumulated for raw record 5181603d: 469

Handling raw record: 11628001-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 20b02538)

Existing processed record found: guesthost_Leu_20b02538_928798e3a7d451be.pkl (ID: 9a43d632)

Initialized PeptideTranslocationEvents for raw record ID: 20b02538-d2c3-483b-a47f-2522b90aa8a6 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_20b02538_928798e3a7d451be.pkl

Events and features accumulated for raw record 20b02538: 474

Handling raw record: 11628001-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 6d83453e)

Existing processed record found: guesthost_Leu_6d83453e_928798e3a7d451be.pkl (ID: 01170cfc)

Initialized PeptideTranslocationEvents for raw record ID: 6d83453e-5d1d-4791-b698-a223e6662a3a (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_6d83453e_928798e3a7d451be.pkl

Events and features accumulated for raw record 6d83453e: 511

Handling raw record: 11803001-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 5cc6c839)

Existing processed record found: guesthost_Leu_5cc6c839_928798e3a7d451be.pkl (ID: 8586bd09)

Initialized PeptideTranslocationEvents for raw record ID: 5cc6c839-8d90-4ef2-8b5a-27743a87d51b (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_5cc6c839_928798e3a7d451be.pkl

Events and features accumulated for raw record 5cc6c839: 531

Handling raw record: 11803001-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 0579926b)

Existing processed record found: guesthost_Leu_0579926b_928798e3a7d451be.pkl (ID: 0880c379)

Initialized PeptideTranslocationEvents for raw record ID: 0579926b-5cbd-4998-94e7-e27ff429c4e8 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_0579926b_928798e3a7d451be.pkl

Events and features accumulated for raw record 0579926b: 627

Handling raw record: 11803001-guesthost_Leu-70_mV-400_Hz-rpt_3.csv (ID: 725178e0)

Existing processed record found: guesthost_Leu_725178e0_928798e3a7d451be.pkl (ID: 9c58a8aa)

Initialized PeptideTranslocationEvents for raw record ID: 725178e0-c37f-489c-a675-e046e392ec57 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_725178e0_928798e3a7d451be.pkl

Events and features accumulated for raw record 725178e0: 683

Total events accumulated for guesthost_Leu: 683

Searching for data for Peptide: guesthost_Phe

Found 6 matching records for query: {'peptide_name': 'guesthost_Phe', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 6 raw records for 'guesthost_Phe'.

Handling raw record: 11622000-guesthost_Phe-70_mV-400_Hz.csv (ID: 58c04789)

Existing processed record found: guesthost_Phe_58c04789_928798e3a7d451be.pkl (ID: 33aeb532)

Initialized PeptideTranslocationEvents for raw record ID: 58c04789-2482-4cda-8440-847f967ee4fb (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_58c04789_928798e3a7d451be.pkl

Events and features accumulated for raw record 58c04789: 145

Handling raw record: 11622002-guesthost_Phe-70_mV-400_Hz.csv (ID: 8dd99e16)

Existing processed record found: guesthost_Phe_8dd99e16_928798e3a7d451be.pkl (ID: 80fe1206)

Initialized PeptideTranslocationEvents for raw record ID: 8dd99e16-e963-4f87-8a85-bb5c2082cd14 (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_8dd99e16_928798e3a7d451be.pkl

Events and features accumulated for raw record 8dd99e16: 221

Handling raw record: 11622003-guesthost_Phe-70_mV-400_Hz.csv (ID: afb88f87)

Existing processed record found: guesthost_Phe_afb88f87_928798e3a7d451be.pkl (ID: 7acbe878)

Initialized PeptideTranslocationEvents for raw record ID: afb88f87-0bea-4663-9860-28834fdf68d4 (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_afb88f87_928798e3a7d451be.pkl

Events and features accumulated for raw record afb88f87: 398

Handling raw record: 11803002-guesthost_Phe-70_mV-400_Hz-rpt_1.csv (ID: 3c77806e)

Existing processed record found: guesthost_Phe_3c77806e_928798e3a7d451be.pkl (ID: bb9445bf)

Initialized PeptideTranslocationEvents for raw record ID: 3c77806e-489a-4c46-a181-1238baecd20c (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_3c77806e_928798e3a7d451be.pkl

Events and features accumulated for raw record 3c77806e: 498

Handling raw record: 11803002-guesthost_Phe-70_mV-400_Hz-rpt_2.csv (ID: cde2542f)

Existing processed record found: guesthost_Phe_cde2542f_928798e3a7d451be.pkl (ID: 767bcf3f)

Initialized PeptideTranslocationEvents for raw record ID: cde2542f-4509-43f9-b510-2739554ed3db (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_cde2542f_928798e3a7d451be.pkl

Events and features accumulated for raw record cde2542f: 691

Handling raw record: 11803004-guesthost_Phe-70_mV-400_Hz.csv (ID: aac87e72)

Existing processed record found: guesthost_Phe_aac87e72_928798e3a7d451be.pkl (ID: 0d5a034b)

Initialized PeptideTranslocationEvents for raw record ID: aac87e72-cee6-4547-8405-7e0bba8fe2c4 (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_aac87e72_928798e3a7d451be.pkl

Events and features accumulated for raw record aac87e72: 854

Total events accumulated for guesthost_Phe: 854

Searching for data for Peptide: guesthost_Thr

Found 35 matching records for query: {'peptide_name': 'guesthost_Thr', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 35 raw records for 'guesthost_Thr'.

Handling raw record: 11502005-guesthost_Thr-70_mV-400_Hz-rpt_1.csv (ID: ba17e61c)

Existing processed record found: guesthost_Thr_ba17e61c_928798e3a7d451be.pkl (ID: 29d93d0e)

Initialized PeptideTranslocationEvents for raw record ID: ba17e61c-0dc6-4154-b6d3-6773a46be2aa (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_ba17e61c_928798e3a7d451be.pkl

Events and features accumulated for raw record ba17e61c: 31

Handling raw record: 11502005-guesthost_Thr-70_mV-400_Hz-rpt_2.csv (ID: 861920ce)

Existing processed record found: guesthost_Thr_861920ce_928798e3a7d451be.pkl (ID: b5dc89cb)

Initialized PeptideTranslocationEvents for raw record ID: 861920ce-fa05-4c53-b8a8-de7c7df98a04 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_861920ce_928798e3a7d451be.pkl

Events and features accumulated for raw record 861920ce: 43

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_1.csv (ID: 5c329ae8)

Existing processed record found: guesthost_Thr_5c329ae8_928798e3a7d451be.pkl (ID: 8e922ed9)

Initialized PeptideTranslocationEvents for raw record ID: 5c329ae8-4000-4587-a83c-fb39f74ba4a2 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_5c329ae8_928798e3a7d451be.pkl

Events and features accumulated for raw record 5c329ae8: 83

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_2.csv (ID: 9a949449)

Existing processed record found: guesthost_Thr_9a949449_928798e3a7d451be.pkl (ID: d1620dd3)

Initialized PeptideTranslocationEvents for raw record ID: 9a949449-7712-46b2-95ba-3f8130c9baa8 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_9a949449_928798e3a7d451be.pkl

Events and features accumulated for raw record 9a949449: 140

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_3.csv (ID: 175ef457)

Existing processed record found: guesthost_Thr_175ef457_928798e3a7d451be.pkl (ID: 41cacb12)

Initialized PeptideTranslocationEvents for raw record ID: 175ef457-cce9-492f-96dc-6a7d8eed73a7 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_175ef457_928798e3a7d451be.pkl

Events and features accumulated for raw record 175ef457: 185

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_4.csv (ID: f9dc44d2)

Existing processed record found: guesthost_Thr_f9dc44d2_928798e3a7d451be.pkl (ID: 5170b5e2)

Initialized PeptideTranslocationEvents for raw record ID: f9dc44d2-d1c8-4151-8c6d-64d4fecf7cdd (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_f9dc44d2_928798e3a7d451be.pkl

Events and features accumulated for raw record f9dc44d2: 317

Handling raw record: 11504002-guesthost_Thr-70_mV-400_Hz.csv (ID: 28a89f5b)

Existing processed record found: guesthost_Thr_28a89f5b_928798e3a7d451be.pkl (ID: a06d9323)

Initialized PeptideTranslocationEvents for raw record ID: 28a89f5b-f313-4a4f-9e1c-bb8b7796eae9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_28a89f5b_928798e3a7d451be.pkl

Events and features accumulated for raw record 28a89f5b: 527

Handling raw record: 11518000-guesthost_Thr-70_mV-400_Hz.csv (ID: 9da83a01)

Existing processed record found: guesthost_Thr_9da83a01_928798e3a7d451be.pkl (ID: dd346b6c)

Initialized PeptideTranslocationEvents for raw record ID: 9da83a01-c571-4307-a50f-7ead6304f6aa (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_9da83a01_928798e3a7d451be.pkl

Events and features accumulated for raw record 9da83a01: 622

Handling raw record: 11518002-guesthost_Thr-70_mV-400_Hz.csv (ID: 734e489f)

Existing processed record found: guesthost_Thr_734e489f_928798e3a7d451be.pkl (ID: 235092ca)

Initialized PeptideTranslocationEvents for raw record ID: 734e489f-c411-4b2a-9c8f-fb9d7cc68da0 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_734e489f_928798e3a7d451be.pkl

Events and features accumulated for raw record 734e489f: 685

Handling raw record: 11518003-guesthost_Thr-70_mV-400_Hz-rpt_1.csv (ID: 3a51946b)

Existing processed record found: guesthost_Thr_3a51946b_928798e3a7d451be.pkl (ID: 0916e63e)

Initialized PeptideTranslocationEvents for raw record ID: 3a51946b-77aa-43f3-b51b-a9e8bbd799f2 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3a51946b_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a51946b: 693

Handling raw record: 11518003-guesthost_Thr-70_mV-400_Hz-rpt_2.csv (ID: 5efa1d19)

Existing processed record found: guesthost_Thr_5efa1d19_928798e3a7d451be.pkl (ID: e63b96e6)

Initialized PeptideTranslocationEvents for raw record ID: 5efa1d19-8952-46f0-873b-21f5f1f57761 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_5efa1d19_928798e3a7d451be.pkl

Events and features accumulated for raw record 5efa1d19: 703

Handling raw record: 11518003-guesthost_Thr-70_mV-400_Hz-rpt_3.csv (ID: 876b9cc5)

Existing processed record found: guesthost_Thr_876b9cc5_928798e3a7d451be.pkl (ID: fad2e373)

Initialized PeptideTranslocationEvents for raw record ID: 876b9cc5-9103-4cf6-bd5b-994c10832639 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_876b9cc5_928798e3a7d451be.pkl

Events and features accumulated for raw record 876b9cc5: 950

Handling raw record: 11d13000-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: be8d51b1)

Existing processed record found: guesthost_Thr_be8d51b1_928798e3a7d451be.pkl (ID: f78a5397)

Initialized PeptideTranslocationEvents for raw record ID: be8d51b1-9ca0-4d98-8153-49385f576b55 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_be8d51b1_928798e3a7d451be.pkl

Events and features accumulated for raw record be8d51b1: 1100

Handling raw record: 11d13000-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 9b7de45e)

Existing processed record found: guesthost_Thr_9b7de45e_928798e3a7d451be.pkl (ID: ba56688d)

Initialized PeptideTranslocationEvents for raw record ID: 9b7de45e-45ac-40f9-ae9e-7add7a12ee49 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_9b7de45e_928798e3a7d451be.pkl

Events and features accumulated for raw record 9b7de45e: 1232

Handling raw record: 11d13000-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 3ca90994)

Existing processed record found: guesthost_Thr_3ca90994_928798e3a7d451be.pkl (ID: a8a615a1)

Initialized PeptideTranslocationEvents for raw record ID: 3ca90994-cef7-4a47-8f36-075b7b476dce (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3ca90994_928798e3a7d451be.pkl

Events and features accumulated for raw record 3ca90994: 1348

Handling raw record: 11d14001-guesthost_Thr-70_mV-400_Hz-downsampled.csv (ID: 5e8d04af)

Existing processed record found: guesthost_Thr_5e8d04af_928798e3a7d451be.pkl (ID: 83e8b0d5)

Initialized PeptideTranslocationEvents for raw record ID: 5e8d04af-f4ab-4b6a-b6fc-1571a9b17142 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_5e8d04af_928798e3a7d451be.pkl

Events and features accumulated for raw record 5e8d04af: 1888

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 680c529b)

Existing processed record found: guesthost_Thr_680c529b_928798e3a7d451be.pkl (ID: f6a7e781)

Initialized PeptideTranslocationEvents for raw record ID: 680c529b-417b-4b5d-af7c-50e32f33fa7d (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_680c529b_928798e3a7d451be.pkl

Events and features accumulated for raw record 680c529b: 2198

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 02dfd4b6)

Existing processed record found: guesthost_Thr_02dfd4b6_928798e3a7d451be.pkl (ID: 1288bdca)

Initialized PeptideTranslocationEvents for raw record ID: 02dfd4b6-0692-4fb8-89ec-c5867f6b96f9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_02dfd4b6_928798e3a7d451be.pkl

Events and features accumulated for raw record 02dfd4b6: 2319

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 94ee523e)

Existing processed record found: guesthost_Thr_94ee523e_928798e3a7d451be.pkl (ID: eba388ef)

Initialized PeptideTranslocationEvents for raw record ID: 94ee523e-6bcb-4e08-9d57-dfa7e613533a (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_94ee523e_928798e3a7d451be.pkl

Events and features accumulated for raw record 94ee523e: 2536

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: 29fc9aad)

Existing processed record found: guesthost_Thr_29fc9aad_928798e3a7d451be.pkl (ID: 020b2d20)

Initialized PeptideTranslocationEvents for raw record ID: 29fc9aad-242d-4470-8f68-5c94f5d618de (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_29fc9aad_928798e3a7d451be.pkl

Events and features accumulated for raw record 29fc9aad: 2637

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: 87d7c0fb)

Existing processed record found: guesthost_Thr_87d7c0fb_928798e3a7d451be.pkl (ID: f5ff0d22)

Initialized PeptideTranslocationEvents for raw record ID: 87d7c0fb-88c4-47a1-86d0-c409a5c5b6b6 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_87d7c0fb_928798e3a7d451be.pkl

Events and features accumulated for raw record 87d7c0fb: 2794

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: c01c888e)

Existing processed record found: guesthost_Thr_c01c888e_928798e3a7d451be.pkl (ID: fe9881c0)

Initialized PeptideTranslocationEvents for raw record ID: c01c888e-cae6-4ab1-9f1a-d42635bc3bd2 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_c01c888e_928798e3a7d451be.pkl

Events and features accumulated for raw record c01c888e: 2991

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: b8d108b9)

Existing processed record found: guesthost_Thr_b8d108b9_928798e3a7d451be.pkl (ID: 09513444)

Initialized PeptideTranslocationEvents for raw record ID: b8d108b9-640f-4c6c-b91a-01b02fe7890b (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_b8d108b9_928798e3a7d451be.pkl

Events and features accumulated for raw record b8d108b9: 3254

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_8.csv (ID: a6b0703a)

Existing processed record found: guesthost_Thr_a6b0703a_928798e3a7d451be.pkl (ID: 5caffa44)

Initialized PeptideTranslocationEvents for raw record ID: a6b0703a-c5e4-4f54-970f-65bbb37bc057 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_a6b0703a_928798e3a7d451be.pkl

Events and features accumulated for raw record a6b0703a: 3522

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_9.csv (ID: b364447b)

Existing processed record found: guesthost_Thr_b364447b_928798e3a7d451be.pkl (ID: bb0a7ee0)

Initialized PeptideTranslocationEvents for raw record ID: b364447b-5a7a-420f-980f-0b57c4a64853 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_b364447b_928798e3a7d451be.pkl

Events and features accumulated for raw record b364447b: 4358

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_10.csv (ID: 685e0ad8)

Existing processed record found: guesthost_Thr_685e0ad8_928798e3a7d451be.pkl (ID: 9d83a92e)

Initialized PeptideTranslocationEvents for raw record ID: 685e0ad8-4437-4009-9725-ca4558be6df9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_685e0ad8_928798e3a7d451be.pkl

Events and features accumulated for raw record 685e0ad8: 4584

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_11.csv (ID: dfebf867)

Existing processed record found: guesthost_Thr_dfebf867_928798e3a7d451be.pkl (ID: b9e5e953)

Initialized PeptideTranslocationEvents for raw record ID: dfebf867-1175-4dd5-8d6a-2b6caa740193 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_dfebf867_928798e3a7d451be.pkl

Events and features accumulated for raw record dfebf867: 4843

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: e7d96b9e)

Existing processed record found: guesthost_Thr_e7d96b9e_928798e3a7d451be.pkl (ID: d66aaa02)

Initialized PeptideTranslocationEvents for raw record ID: e7d96b9e-03b2-4ddf-87a9-ce5b1b80c9c9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_e7d96b9e_928798e3a7d451be.pkl

Events and features accumulated for raw record e7d96b9e: 5630

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 6a5d9900)

Existing processed record found: guesthost_Thr_6a5d9900_928798e3a7d451be.pkl (ID: ed1381ae)

Initialized PeptideTranslocationEvents for raw record ID: 6a5d9900-302e-4d5f-8951-e525ef48b546 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_6a5d9900_928798e3a7d451be.pkl

Events and features accumulated for raw record 6a5d9900: 6065

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 360e1faf)

Existing processed record found: guesthost_Thr_360e1faf_928798e3a7d451be.pkl (ID: bae7032e)

Initialized PeptideTranslocationEvents for raw record ID: 360e1faf-5f65-45f1-8736-c7fe12c203d5 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_360e1faf_928798e3a7d451be.pkl

Events and features accumulated for raw record 360e1faf: 6233

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: 3a4b1c5a)

Existing processed record found: guesthost_Thr_3a4b1c5a_928798e3a7d451be.pkl (ID: 9d160f60)

Initialized PeptideTranslocationEvents for raw record ID: 3a4b1c5a-4223-49e0-b533-7ff962b48e4e (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3a4b1c5a_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a4b1c5a: 6657

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: f33690f5)

Existing processed record found: guesthost_Thr_f33690f5_928798e3a7d451be.pkl (ID: d6718e90)

Initialized PeptideTranslocationEvents for raw record ID: f33690f5-c590-4a26-a761-64ebf0eeb252 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_f33690f5_928798e3a7d451be.pkl

Events and features accumulated for raw record f33690f5: 7058

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: 98d5c52a)

Existing processed record found: guesthost_Thr_98d5c52a_928798e3a7d451be.pkl (ID: daf9c9fa)

Initialized PeptideTranslocationEvents for raw record ID: 98d5c52a-9a02-4991-b918-6b5b6ee27edc (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_98d5c52a_928798e3a7d451be.pkl

Events and features accumulated for raw record 98d5c52a: 7352

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: 3ad4e412)

Existing processed record found: guesthost_Thr_3ad4e412_928798e3a7d451be.pkl (ID: 2904700d)

Initialized PeptideTranslocationEvents for raw record ID: 3ad4e412-e152-4935-b353-fc12c994a0dd (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3ad4e412_928798e3a7d451be.pkl

Events and features accumulated for raw record 3ad4e412: 7569

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_8.csv (ID: 4bf79491)

Existing processed record found: guesthost_Thr_4bf79491_928798e3a7d451be.pkl (ID: 5d3f48e2)

Initialized PeptideTranslocationEvents for raw record ID: 4bf79491-1a56-4010-baa7-cd9399c17a9d (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_4bf79491_928798e3a7d451be.pkl

Events and features accumulated for raw record 4bf79491: 8048

Total events accumulated for guesthost_Thr: 8048

Searching for data for Peptide: guesthost_Trp

Found 11 matching records for query: {'peptide_name': 'guesthost_Trp', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 11 raw records for 'guesthost_Trp'.

Handling raw record: 11531005-guesthost_Trp-70_mV-400_Hz.csv (ID: 271fca42)

Existing processed record found: guesthost_Trp_271fca42_928798e3a7d451be.pkl (ID: f040e556)

Initialized PeptideTranslocationEvents for raw record ID: 271fca42-9adf-48d0-bf4a-3fc99f92c6b8 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_271fca42_928798e3a7d451be.pkl

Events and features accumulated for raw record 271fca42: 108

Handling raw record: 11531006-guesthost_Trp-70_MV-400_Hz-rpt_1.csv (ID: 1535e6d0)

Existing processed record found: guesthost_Trp_1535e6d0_928798e3a7d451be.pkl (ID: b2066ed3)

Initialized PeptideTranslocationEvents for raw record ID: 1535e6d0-aa47-4f17-8c25-ce74a53eaa51 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_1535e6d0_928798e3a7d451be.pkl

Events and features accumulated for raw record 1535e6d0: 127

Handling raw record: 11531006-guesthost_Trp-70_MV-400_Hz-rpt_2.csv (ID: 0adcf65a)

Existing processed record found: guesthost_Trp_0adcf65a_928798e3a7d451be.pkl (ID: 9b7de6da)

Initialized PeptideTranslocationEvents for raw record ID: 0adcf65a-5159-454b-a13a-26fccaec3be7 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_0adcf65a_928798e3a7d451be.pkl

Events and features accumulated for raw record 0adcf65a: 148

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_1.csv (ID: fd05404e)

Existing processed record found: guesthost_Trp_fd05404e_928798e3a7d451be.pkl (ID: 3ea33b64)

Initialized PeptideTranslocationEvents for raw record ID: fd05404e-065a-4a1d-a932-adc41dab59f1 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_fd05404e_928798e3a7d451be.pkl

Events and features accumulated for raw record fd05404e: 205

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_2.csv (ID: 19a54a8d)

Existing processed record found: guesthost_Trp_19a54a8d_928798e3a7d451be.pkl (ID: 8370e20b)

Initialized PeptideTranslocationEvents for raw record ID: 19a54a8d-f0f6-451b-bb95-ff8b76dcf662 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_19a54a8d_928798e3a7d451be.pkl

Events and features accumulated for raw record 19a54a8d: 286

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_3.csv (ID: 7426683d)

Existing processed record found: guesthost_Trp_7426683d_928798e3a7d451be.pkl (ID: d5463e73)

Initialized PeptideTranslocationEvents for raw record ID: 7426683d-67a2-4505-b122-4e8b1d7987be (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_7426683d_928798e3a7d451be.pkl

Events and features accumulated for raw record 7426683d: 341

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_4.csv (ID: 7bb2d542)

Existing processed record found: guesthost_Trp_7bb2d542_928798e3a7d451be.pkl (ID: bf953b4e)

Initialized PeptideTranslocationEvents for raw record ID: 7bb2d542-c6e3-4649-a9d8-4e1538e61139 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_7bb2d542_928798e3a7d451be.pkl

Events and features accumulated for raw record 7bb2d542: 409

Handling raw record: 11d07001-guesthost_Trp-70_mV-400_Hz-downsampled.csv (ID: ceef3dcf)

Existing processed record found: guesthost_Trp_ceef3dcf_928798e3a7d451be.pkl (ID: 2836aed9)

Initialized PeptideTranslocationEvents for raw record ID: ceef3dcf-a7d7-42bd-9069-1e3d101c5f4d (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_ceef3dcf_928798e3a7d451be.pkl

Events and features accumulated for raw record ceef3dcf: 853

Handling raw record: 11d07002-guesthost_Trp-70_mV-400_Hz-downsampled-rpt_1.csv (ID: cec5eefa)

Existing processed record found: guesthost_Trp_cec5eefa_928798e3a7d451be.pkl (ID: c8fe6d72)

Initialized PeptideTranslocationEvents for raw record ID: cec5eefa-d64f-4e6c-8b88-55944cacc854 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_cec5eefa_928798e3a7d451be.pkl

Events and features accumulated for raw record cec5eefa: 1031

Handling raw record: 11d07002-guesthost_Trp-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 4d7604d0)

Existing processed record found: guesthost_Trp_4d7604d0_928798e3a7d451be.pkl (ID: af51347d)

Initialized PeptideTranslocationEvents for raw record ID: 4d7604d0-3b1d-4453-b9ee-50d231aa7b67 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_4d7604d0_928798e3a7d451be.pkl

Events and features accumulated for raw record 4d7604d0: 1393

Handling raw record: 11d08003-guesthost_Trp-70_mV-400_Hz-downsampled.csv (ID: 02ccebb9)

Existing processed record found: guesthost_Trp_02ccebb9_928798e3a7d451be.pkl (ID: ebf04947)

Initialized PeptideTranslocationEvents for raw record ID: 02ccebb9-719f-4a8a-aaa7-c341709861b2 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_02ccebb9_928798e3a7d451be.pkl

Events and features accumulated for raw record 02ccebb9: 1897

Total events accumulated for guesthost_Trp: 1897

Searching for data for Peptide: guesthost_TrpDL

Found 6 matching records for query: {'peptide_name': 'guesthost_TrpDL', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 6 raw records for 'guesthost_TrpDL'.

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_1.csv (ID: c3f93ada)

Existing processed record found: guesthost_TrpDL_c3f93ada_928798e3a7d451be.pkl (ID: abc97ded)

Initialized PeptideTranslocationEvents for raw record ID: c3f93ada-43c8-4caf-9b11-66309319a970 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_c3f93ada_928798e3a7d451be.pkl

Events and features accumulated for raw record c3f93ada: 25

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_2.csv (ID: c7d7a769)

Existing processed record found: guesthost_TrpDL_c7d7a769_928798e3a7d451be.pkl (ID: 2bd0ffe3)

Initialized PeptideTranslocationEvents for raw record ID: c7d7a769-d5f7-4f4a-8d48-0e97fbf660f0 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_c7d7a769_928798e3a7d451be.pkl

Events and features accumulated for raw record c7d7a769: 106

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 70c6489b)

Existing processed record found: guesthost_TrpDL_70c6489b_928798e3a7d451be.pkl (ID: bf148ea9)

Initialized PeptideTranslocationEvents for raw record ID: 70c6489b-5c0d-492b-9f50-d60dcfcbc95e (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_70c6489b_928798e3a7d451be.pkl

Events and features accumulated for raw record 70c6489b: 176

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_4.csv (ID: fe527c95)

Existing processed record found: guesthost_TrpDL_fe527c95_928798e3a7d451be.pkl (ID: 1c07ef63)

Initialized PeptideTranslocationEvents for raw record ID: fe527c95-4ca1-4e31-8c28-65af5bc73f56 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_fe527c95_928798e3a7d451be.pkl

Events and features accumulated for raw record fe527c95: 367

Handling raw record: 11811001-guesthost_TrpDL-70_mV-400_Hz-downsampled.csv (ID: cadaffdc)

Existing processed record found: guesthost_TrpDL_cadaffdc_928798e3a7d451be.pkl (ID: aef1a03d)

Initialized PeptideTranslocationEvents for raw record ID: cadaffdc-8da2-45d3-9ae9-05c7cc4e9715 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_cadaffdc_928798e3a7d451be.pkl

Events and features accumulated for raw record cadaffdc: 420

Handling raw record: 11811002-guesthost_TrpDL-70_mV-400_Hz-downsampled.csv (ID: 7a976d8c)

Existing processed record found: guesthost_TrpDL_7a976d8c_928798e3a7d451be.pkl (ID: 5f702ce1)

Initialized PeptideTranslocationEvents for raw record ID: 7a976d8c-680f-4f05-aed4-66dae5cc1677 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_7a976d8c_928798e3a7d451be.pkl

Events and features accumulated for raw record 7a976d8c: 624

Total events accumulated for guesthost_TrpDL: 624

Searching for data for Peptide: guesthost_Tyr

Found 21 matching records for query: {'peptide_name': 'guesthost_Tyr', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 21 raw records for 'guesthost_Tyr'.

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 68581089)

Existing processed record found: guesthost_Tyr_68581089_928798e3a7d451be.pkl (ID: 7267df0d)

Initialized PeptideTranslocationEvents for raw record ID: 68581089-3c7d-4659-931e-fb33264345e4 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_68581089_928798e3a7d451be.pkl

Events and features accumulated for raw record 68581089: 172

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 15a729e7)

Existing processed record found: guesthost_Tyr_15a729e7_928798e3a7d451be.pkl (ID: eda667a9)

Initialized PeptideTranslocationEvents for raw record ID: 15a729e7-9170-4e88-92a6-fde6ab903eaa (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_15a729e7_928798e3a7d451be.pkl

Events and features accumulated for raw record 15a729e7: 536

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 20eee760)

Existing processed record found: guesthost_Tyr_20eee760_928798e3a7d451be.pkl (ID: ee00dfba)

Initialized PeptideTranslocationEvents for raw record ID: 20eee760-89ca-4b93-9323-a539d7cb6e6f (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_20eee760_928798e3a7d451be.pkl

Events and features accumulated for raw record 20eee760: 652

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: 37b9bab4)

Existing processed record found: guesthost_Tyr_37b9bab4_928798e3a7d451be.pkl (ID: 67254548)

Initialized PeptideTranslocationEvents for raw record ID: 37b9bab4-d7d1-43e7-97c8-afdd05868c30 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_37b9bab4_928798e3a7d451be.pkl

Events and features accumulated for raw record 37b9bab4: 759

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: c91101f7)

Existing processed record found: guesthost_Tyr_c91101f7_928798e3a7d451be.pkl (ID: 42de2479)

Initialized PeptideTranslocationEvents for raw record ID: c91101f7-1714-43a6-983e-669757ddb107 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_c91101f7_928798e3a7d451be.pkl

Events and features accumulated for raw record c91101f7: 960

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: b46948b6)

Existing processed record found: guesthost_Tyr_b46948b6_928798e3a7d451be.pkl (ID: e74f21f9)

Initialized PeptideTranslocationEvents for raw record ID: b46948b6-0e14-496b-81f6-7b00548768d6 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_b46948b6_928798e3a7d451be.pkl

Events and features accumulated for raw record b46948b6: 1093

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: ee264950)

Existing processed record found: guesthost_Tyr_ee264950_928798e3a7d451be.pkl (ID: 4082ab0f)

Initialized PeptideTranslocationEvents for raw record ID: ee264950-6aa3-4fc1-aae0-3a2c3fdea4d6 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_ee264950_928798e3a7d451be.pkl

Events and features accumulated for raw record ee264950: 1208

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: da1a36fe)

Existing processed record found: guesthost_Tyr_da1a36fe_928798e3a7d451be.pkl (ID: ee9d52df)

Initialized PeptideTranslocationEvents for raw record ID: da1a36fe-3fc4-4118-8bd4-87586748425d (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_da1a36fe_928798e3a7d451be.pkl

Events and features accumulated for raw record da1a36fe: 1271

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 7845c78e)

Existing processed record found: guesthost_Tyr_7845c78e_928798e3a7d451be.pkl (ID: 580a2c8e)

Initialized PeptideTranslocationEvents for raw record ID: 7845c78e-44b6-40a6-96be-0848c4049d44 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_7845c78e_928798e3a7d451be.pkl

Events and features accumulated for raw record 7845c78e: 1321

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 2bc9b217)

Existing processed record found: guesthost_Tyr_2bc9b217_928798e3a7d451be.pkl (ID: c98a5f32)

Initialized PeptideTranslocationEvents for raw record ID: 2bc9b217-dc3d-4a7a-b411-2bdfdb06464c (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_2bc9b217_928798e3a7d451be.pkl

Events and features accumulated for raw record 2bc9b217: 1355

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: ff81ed1d)

Existing processed record found: guesthost_Tyr_ff81ed1d_928798e3a7d451be.pkl (ID: 8e5e7198)

Initialized PeptideTranslocationEvents for raw record ID: ff81ed1d-b6b8-469c-b0e3-6043ca68b9c3 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_ff81ed1d_928798e3a7d451be.pkl

Events and features accumulated for raw record ff81ed1d: 1393

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: 3a7c9d6f)

Existing processed record found: guesthost_Tyr_3a7c9d6f_928798e3a7d451be.pkl (ID: 8264309b)

Initialized PeptideTranslocationEvents for raw record ID: 3a7c9d6f-f312-4a10-bb69-815042df3e8b (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_3a7c9d6f_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a7c9d6f: 1563

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: c82d8fe8)

Existing processed record found: guesthost_Tyr_c82d8fe8_928798e3a7d451be.pkl (ID: ec8df58b)

Initialized PeptideTranslocationEvents for raw record ID: c82d8fe8-5168-4c03-ae34-ba6f030ccc3b (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_c82d8fe8_928798e3a7d451be.pkl

Events and features accumulated for raw record c82d8fe8: 1912

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: 2d503a37)

Existing processed record found: guesthost_Tyr_2d503a37_928798e3a7d451be.pkl (ID: c7c69284)

Initialized PeptideTranslocationEvents for raw record ID: 2d503a37-d0aa-402a-a387-3eb25db7114c (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_2d503a37_928798e3a7d451be.pkl

Events and features accumulated for raw record 2d503a37: 2150

Handling raw record: 11n09003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: e60a78f8)

Existing processed record found: guesthost_Tyr_e60a78f8_928798e3a7d451be.pkl (ID: 9ceb4de0)

Initialized PeptideTranslocationEvents for raw record ID: e60a78f8-fa51-4c31-a98c-f322c52370f1 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_e60a78f8_928798e3a7d451be.pkl

Events and features accumulated for raw record e60a78f8: 2680

Handling raw record: 11n09003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: e72b890d)

Existing processed record found: guesthost_Tyr_e72b890d_928798e3a7d451be.pkl (ID: 60591cca)

Initialized PeptideTranslocationEvents for raw record ID: e72b890d-1b16-4576-8128-9a24315b64fb (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_e72b890d_928798e3a7d451be.pkl

Events and features accumulated for raw record e72b890d: 3333

Handling raw record: 11n09004-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 3a940d8c)

Existing processed record found: guesthost_Tyr_3a940d8c_928798e3a7d451be.pkl (ID: 7fec2f85)

Initialized PeptideTranslocationEvents for raw record ID: 3a940d8c-cefb-466a-9895-1c284d5be754 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_3a940d8c_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a940d8c: 3507

Handling raw record: 11n09004-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: f818de07)

Existing processed record found: guesthost_Tyr_f818de07_928798e3a7d451be.pkl (ID: 81a2c35e)

Initialized PeptideTranslocationEvents for raw record ID: f818de07-8968-4cc8-99f4-1b88414ed47e (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_f818de07_928798e3a7d451be.pkl

Events and features accumulated for raw record f818de07: 4255

Handling raw record: 11n09004-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 6d047d09)

Existing processed record found: guesthost_Tyr_6d047d09_928798e3a7d451be.pkl (ID: cd013625)

Initialized PeptideTranslocationEvents for raw record ID: 6d047d09-3cf0-48cf-89aa-f630cc0c3a1e (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_6d047d09_928798e3a7d451be.pkl

Events and features accumulated for raw record 6d047d09: 4425

Handling raw record: 11n16003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 5c738423)

Existing processed record found: guesthost_Tyr_5c738423_928798e3a7d451be.pkl (ID: c9d37c23)

Initialized PeptideTranslocationEvents for raw record ID: 5c738423-7435-4441-9bed-3fb4f3640dba (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_5c738423_928798e3a7d451be.pkl

Events and features accumulated for raw record 5c738423: 5257

Handling raw record: 11n16003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: d3f80d9c)

Existing processed record found: guesthost_Tyr_d3f80d9c_928798e3a7d451be.pkl (ID: 25a1e197)

Initialized PeptideTranslocationEvents for raw record ID: d3f80d9c-b9e7-4e80-9785-79ccbfb0e766 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_d3f80d9c_928798e3a7d451be.pkl

Events and features accumulated for raw record d3f80d9c: 5743

Total events accumulated for guesthost_Tyr: 5743

--- Finished Data Loading/Processing ---

Total translocation events loaded before downsampling: 190123

All 69 event-level feature names are consistent across all loaded PKL files.

--- Applying Downsampling ---

Peptide 'guesthost_Ala' (Label 0): 27623 events

Peptide 'guesthost_Leu' (Label 1): 4437 events

Peptide 'guesthost_Phe' (Label 2): 2807 events

Peptide 'guesthost_Thr' (Label 3): 101195 events

Peptide 'guesthost_Trp' (Label 4): 6798 events

Peptide 'guesthost_TrpDL' (Label 5): 1718 events

Peptide 'guesthost_Tyr' (Label 6): 45545 events

Downsampling all peptides to 1718 events based on 'guesthost_TrpDL'.

Peptide 'guesthost_Ala' (Label 0) downsampled from 27623 to 1718 events.

Peptide 'guesthost_Leu' (Label 1) downsampled from 4437 to 1718 events.

Peptide 'guesthost_Phe' (Label 2) downsampled from 2807 to 1718 events.

Peptide 'guesthost_Thr' (Label 3) downsampled from 101195 to 1718 events.

Peptide 'guesthost_Trp' (Label 4) downsampled from 6798 to 1718 events.

Peptide 'guesthost_TrpDL' (Label 5) kept 1718 events (no downsampling needed).

Peptide 'guesthost_Tyr' (Label 6) downsampled from 45545 to 1718 events.

Total translocation events after downsampling: 12026

Original number of actual states observed: 3

Max sequence length for padding: 1300

Vocabulary size for CNN (actual states + padding token 0): 4

Splitting CNN training data into train/validation with test_size=0.2...

CNN Train set size: 9620 samples

CNN Validation set size: 2406 samples

Creating CNN Embedding Encoder Model...

2025-07-19 16:53:42.229123: I metal_plugin/src/device/metal_device.cc:1154] Metal device set to: Apple M4 Pro

2025-07-19 16:53:42.229145: I metal_plugin/src/device/metal_device.cc:296] systemMemory: 24.00 GB

2025-07-19 16:53:42.229152: I metal_plugin/src/device/metal_device.cc:313] maxCacheSize: 8.00 GB

2025-07-19 16:53:42.229172: I tensorflow/core/common_runtime/pluggable_device/pluggable_device_factory.cc:305] Could not identify NUMA node of platform GPU ID 0, defaulting to 0. Your kernel may not have been built with NUMA support.

2025-07-19 16:53:42.229180: I tensorflow/core/common_runtime/pluggable_device/pluggable_device_factory.cc:271] Created TensorFlow device (/job:localhost/replica:0/task:0/device:GPU:0 with 0 MB memory) -> physical PluggableDevice (device: 0, name: METAL, pci bus id: <undefined>)

/opt/anaconda3/envs/tf-macos/lib/python3.10/site-packages/keras/src/layers/layer.py:940: UserWarning: Layer 'conv1d_0' (of type Conv1D) was passed an input with a mask attached to it. However, this layer does not support masking and will therefore destroy the mask information. Downstream layers will not see the mask.

warnings.warn(

Model: "functional"

┏━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━┳━━━━━━━━━━━━━━━━━━━━━━━━┳━━━━━━━━━━━━━━━┓

┃ Layer (type)                    ┃ Output Shape           ┃       Param # ┃

┡━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━╇━━━━━━━━━━━━━━━━━━━━━━━━╇━━━━━━━━━━━━━━━┩

│ input_sequence (InputLayer)     │ (None, 1300)           │             0 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ token_embedding (Embedding)     │ (None, 1300, 128)      │           512 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ conv1d_0 (Conv1D)               │ (None, 1300, 128)      │        49,280 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ batch_norm_0                    │ (None, 1300, 128)      │           512 │

│ (BatchNormalization)            │                        │               │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ max_pooling_0 (MaxPooling1D)    │ (None, 650, 128)       │             0 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ cnn_dropout_0 (Dropout)         │ (None, 650, 128)       │             0 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ conv1d_1 (Conv1D)               │ (None, 650, 128)       │        49,280 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ batch_norm_1                    │ (None, 650, 128)       │           512 │

│ (BatchNormalization)            │                        │               │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ max_pooling_1 (MaxPooling1D)    │ (None, 325, 128)       │             0 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ cnn_dropout_1 (Dropout)         │ (None, 325, 128)       │             0 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ global_max_pooling              │ (None, 128)            │             0 │

│ (GlobalMaxPooling1D)            │                        │               │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ embedding (Dense)               │ (None, 128)            │        16,512 │

├─────────────────────────────────┼────────────────────────┼───────────────┤

│ classification_head (Dense)     │ (None, 7)              │           903 │

└─────────────────────────────────┴────────────────────────┴───────────────┘

Total params: 117,511 (459.03 KB)

Trainable params: 116,999 (457.03 KB)

Non-trainable params: 512 (2.00 KB)

Converting NumPy arrays for CNN training to TensorFlow Tensors...

Conversion complete.

Shape of dummy training embedding targets: (9620, 128)

Shape of dummy validation embedding targets: (2406, 128)

Training CNN Embedding Encoder model (with classification head)...

Epoch 1/100

2025-07-19 16:53:42.605008: I tensorflow/core/grappler/optimizers/custom_graph_optimizer_registry.cc:117] Plugin optimizer for device_type GPU is enabled.

301/301 ━━━━━━━━━━━━━━━━━━━━ 8s 22ms/step - classification_head_accuracy: 0.2842 - loss: 4.5087 - val_classification_head_accuracy: 0.1791 - val_loss: 1.9097 - learning_rate: 0.0010

Epoch 2/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.3656 - loss: 1.8982 - val_classification_head_accuracy: 0.2818 - val_loss: 1.7078 - learning_rate: 0.0010

Epoch 3/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.3816 - loss: 1.7126 - val_classification_head_accuracy: 0.2768 - val_loss: 1.7547 - learning_rate: 0.0010

Epoch 4/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4038 - loss: 1.6592 - val_classification_head_accuracy: 0.3728 - val_loss: 1.5447 - learning_rate: 0.0010

Epoch 5/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4119 - loss: 1.6043 - val_classification_head_accuracy: 0.3196 - val_loss: 1.6939 - learning_rate: 0.0010

Epoch 6/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4067 - loss: 1.6915 - val_classification_head_accuracy: 0.3225 - val_loss: 1.5934 - learning_rate: 0.0010

Epoch 7/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 22ms/step - classification_head_accuracy: 0.4258 - loss: 1.5232 - val_classification_head_accuracy: 0.3807 - val_loss: 1.5565 - learning_rate: 0.0010

Epoch 8/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4337 - loss: 1.4975 - val_classification_head_accuracy: 0.3957 - val_loss: 1.4774 - learning_rate: 0.0010

Epoch 9/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4505 - loss: 1.4292 - val_classification_head_accuracy: 0.2760 - val_loss: 1.8321 - learning_rate: 0.0010

Epoch 10/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4425 - loss: 1.4577 - val_classification_head_accuracy: 0.3807 - val_loss: 1.5184 - learning_rate: 0.0010

Epoch 11/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4608 - loss: 1.4217 - val_classification_head_accuracy: 0.4140 - val_loss: 1.4407 - learning_rate: 0.0010

Epoch 12/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4730 - loss: 1.4082 - val_classification_head_accuracy: 0.4663 - val_loss: 1.4395 - learning_rate: 0.0010

Epoch 13/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4617 - loss: 1.3680 - val_classification_head_accuracy: 0.4539 - val_loss: 1.4525 - learning_rate: 0.0010

Epoch 14/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4684 - loss: 1.3411 - val_classification_head_accuracy: 0.4081 - val_loss: 1.4610 - learning_rate: 0.0010

Epoch 15/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4694 - loss: 1.3420 - val_classification_head_accuracy: 0.4152 - val_loss: 1.3904 - learning_rate: 0.0010

Epoch 16/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4807 - loss: 1.3263 - val_classification_head_accuracy: 0.3836 - val_loss: 1.4406 - learning_rate: 0.0010

Epoch 17/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4774 - loss: 1.3155 - val_classification_head_accuracy: 0.4697 - val_loss: 1.3832 - learning_rate: 0.0010

Epoch 18/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4965 - loss: 1.2870 - val_classification_head_accuracy: 0.3982 - val_loss: 1.4441 - learning_rate: 0.0010

Epoch 19/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4753 - loss: 1.3285 - val_classification_head_accuracy: 0.4460 - val_loss: 1.4238 - learning_rate: 0.0010

Epoch 20/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 7s 22ms/step - classification_head_accuracy: 0.4834 - loss: 1.3163 - val_classification_head_accuracy: 0.4672 - val_loss: 1.3926 - learning_rate: 0.0010

Epoch 21/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 22ms/step - classification_head_accuracy: 0.4925 - loss: 1.2838 - val_classification_head_accuracy: 0.3928 - val_loss: 1.4720 - learning_rate: 0.0010

Epoch 22/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.4934 - loss: 1.2906 - val_classification_head_accuracy: 0.4597 - val_loss: 1.4070 - learning_rate: 0.0010

Epoch 23/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.5079 - loss: 1.2681 - val_classification_head_accuracy: 0.4510 - val_loss: 1.4087 - learning_rate: 5.0000e-04

Epoch 24/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.5059 - loss: 1.2513 - val_classification_head_accuracy: 0.4456 - val_loss: 1.3872 - learning_rate: 5.0000e-04

Epoch 25/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 21ms/step - classification_head_accuracy: 0.5079 - loss: 1.2222 - val_classification_head_accuracy: 0.4589 - val_loss: 1.3985 - learning_rate: 5.0000e-04

Epoch 26/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 7s 22ms/step - classification_head_accuracy: 0.5051 - loss: 1.2253 - val_classification_head_accuracy: 0.4505 - val_loss: 1.3849 - learning_rate: 5.0000e-04

Epoch 27/100

301/301 ━━━━━━━━━━━━━━━━━━━━ 6s 22ms/step - classification_head_accuracy: 0.5022 - loss: 1.2510 - val_classification_head_accuracy: 0.4372 - val_loss: 1.4172 - learning_rate: 5.0000e-04

CNN Embedding Encoder training complete.

CNN Encoder training history plot saved to /Users/bakrantz/Documents/python/xgboost-classifier-with-features-and-sequence-embeddings/plots/cnn_encoder_training_history.png

--- Reloading ALL data and features (no downsampling) for XGBoost ---

Attempting to load raw database from: /Users/bakrantz/Documents/python/database/peptide_data.json

Attempting to load processed events database from: /Users/bakrantz/Documents/python/database/peptide_events_data.json

--- Starting Data Loading/Processing from Databases ---

Searching for data for Peptide: guesthost_Ala

Found 17 matching records for query: {'peptide_name': 'guesthost_Ala', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 17 raw records for 'guesthost_Ala'.

Handling raw record: 11629000-guesthost_Ala-70_mV-400_Hz.csv (ID: 56ce1594)

Existing processed record found: guesthost_Ala_56ce1594_928798e3a7d451be.pkl (ID: 172a5e9c)

Initialized PeptideTranslocationEvents for raw record ID: 56ce1594-b7ef-4cfa-b6b8-840b10664281 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_56ce1594_928798e3a7d451be.pkl

Events and features accumulated for raw record 56ce1594: 19

Handling raw record: 11629004-guesthost_Ala-70_mV-400_Hz.csv (ID: 6d94fa8e)

Existing processed record found: guesthost_Ala_6d94fa8e_928798e3a7d451be.pkl (ID: 554c55af)

Initialized PeptideTranslocationEvents for raw record ID: 6d94fa8e-6b47-40da-8a51-c171527bb4d8 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_6d94fa8e_928798e3a7d451be.pkl

Events and features accumulated for raw record 6d94fa8e: 192

Handling raw record: 11729001-guesthost_Ala-70_mV-400_Hz.csv (ID: 38e7ada8)

Existing processed record found: guesthost_Ala_38e7ada8_928798e3a7d451be.pkl (ID: 2bbc22d3)

Initialized PeptideTranslocationEvents for raw record ID: 38e7ada8-2b2b-4bde-8bbf-c00e09b30e96 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_38e7ada8_928798e3a7d451be.pkl

Events and features accumulated for raw record 38e7ada8: 519

Handling raw record: 11729003-guesthost_Ala-70_mV-400_Hz.csv (ID: 004090f6)

Existing processed record found: guesthost_Ala_004090f6_928798e3a7d451be.pkl (ID: 0dc095d1)

Initialized PeptideTranslocationEvents for raw record ID: 004090f6-0a01-4e2c-b769-a8bdf59a69bf (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_004090f6_928798e3a7d451be.pkl

Events and features accumulated for raw record 004090f6: 624

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 81590dcf)

Existing processed record found: guesthost_Ala_81590dcf_928798e3a7d451be.pkl (ID: 2092790e)

Initialized PeptideTranslocationEvents for raw record ID: 81590dcf-c098-4b80-afa6-90b5260acdda (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_81590dcf_928798e3a7d451be.pkl

Events and features accumulated for raw record 81590dcf: 850

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 6bf79e43)

Existing processed record found: guesthost_Ala_6bf79e43_928798e3a7d451be.pkl (ID: 304f76a6)

Initialized PeptideTranslocationEvents for raw record ID: 6bf79e43-3682-4c79-8eb8-7238058d233b (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_6bf79e43_928798e3a7d451be.pkl

Events and features accumulated for raw record 6bf79e43: 1153

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_3.csv (ID: a0852287)

Existing processed record found: guesthost_Ala_a0852287_928798e3a7d451be.pkl (ID: 877f7624)

Initialized PeptideTranslocationEvents for raw record ID: a0852287-39e6-4acd-8c7f-c96248cc55d3 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_a0852287_928798e3a7d451be.pkl

Events and features accumulated for raw record a0852287: 1317

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_4.csv (ID: d6422446)

Existing processed record found: guesthost_Ala_d6422446_928798e3a7d451be.pkl (ID: e601c3b4)

Initialized PeptideTranslocationEvents for raw record ID: d6422446-177a-4c8e-9fa8-b73c4e2cd2b4 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_d6422446_928798e3a7d451be.pkl

Events and features accumulated for raw record d6422446: 1608

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_5.csv (ID: 4bdc3f31)

Existing processed record found: guesthost_Ala_4bdc3f31_928798e3a7d451be.pkl (ID: 831e8f26)

Initialized PeptideTranslocationEvents for raw record ID: 4bdc3f31-63ae-41ef-8b1d-19cbff4bbf62 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_4bdc3f31_928798e3a7d451be.pkl

Events and features accumulated for raw record 4bdc3f31: 1813

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_6.csv (ID: e6953ea3)

Existing processed record found: guesthost_Ala_e6953ea3_928798e3a7d451be.pkl (ID: 72c75231)

Initialized PeptideTranslocationEvents for raw record ID: e6953ea3-681a-45d2-99f2-867f74d7fe74 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_e6953ea3_928798e3a7d451be.pkl

Events and features accumulated for raw record e6953ea3: 2086

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_7.csv (ID: d6d19a08)

Existing processed record found: guesthost_Ala_d6d19a08_928798e3a7d451be.pkl (ID: 49178633)

Initialized PeptideTranslocationEvents for raw record ID: d6d19a08-001a-43f5-9a1e-764c8b08fa73 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_d6d19a08_928798e3a7d451be.pkl

Events and features accumulated for raw record d6d19a08: 2158

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_8.csv (ID: 7f53861e)

Existing processed record found: guesthost_Ala_7f53861e_928798e3a7d451be.pkl (ID: 04025bb7)

Initialized PeptideTranslocationEvents for raw record ID: 7f53861e-ae4f-40fb-af6c-4a41ebe8cbe8 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_7f53861e_928798e3a7d451be.pkl

Events and features accumulated for raw record 7f53861e: 2240

Handling raw record: 11927000-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_9.csv (ID: 4050de7c)

Existing processed record found: guesthost_Ala_4050de7c_928798e3a7d451be.pkl (ID: 85aba58e)

Initialized PeptideTranslocationEvents for raw record ID: 4050de7c-2a75-42cf-a395-1bda1ac12aed (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_4050de7c_928798e3a7d451be.pkl

Events and features accumulated for raw record 4050de7c: 2311

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_1.csv (ID: b72a4839)

Existing processed record found: guesthost_Ala_b72a4839_928798e3a7d451be.pkl (ID: 950b7955)

Initialized PeptideTranslocationEvents for raw record ID: b72a4839-27f1-4fc2-8fc9-32989821e0de (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_b72a4839_928798e3a7d451be.pkl

Events and features accumulated for raw record b72a4839: 2470

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 42bf3ec3)

Existing processed record found: guesthost_Ala_42bf3ec3_928798e3a7d451be.pkl (ID: f3672f67)

Initialized PeptideTranslocationEvents for raw record ID: 42bf3ec3-d895-42ec-9586-ef8aaf18c450 (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_42bf3ec3_928798e3a7d451be.pkl

Events and features accumulated for raw record 42bf3ec3: 2510

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 9c628142)

Existing processed record found: guesthost_Ala_9c628142_928798e3a7d451be.pkl (ID: 7210dad3)

Initialized PeptideTranslocationEvents for raw record ID: 9c628142-887f-49d3-bd6d-d202cda0af7d (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_9c628142_928798e3a7d451be.pkl

Events and features accumulated for raw record 9c628142: 2734

Handling raw record: 11927003-guesthost_Ala-70_mV-400_Hz-downsampled-rpt_4.csv (ID: ada61fa6)

Existing processed record found: guesthost_Ala_ada61fa6_928798e3a7d451be.pkl (ID: 3fd042e3)

Initialized PeptideTranslocationEvents for raw record ID: ada61fa6-cb80-49bd-a668-7572703bdd3f (guesthost_Ala) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Ala_ada61fa6_928798e3a7d451be.pkl

Events and features accumulated for raw record ada61fa6: 3019

Total events accumulated for guesthost_Ala: 3019

Searching for data for Peptide: guesthost_Leu

Found 13 matching records for query: {'peptide_name': 'guesthost_Leu', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 13 raw records for 'guesthost_Leu'.

Handling raw record: 11627000-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 4c0fb932)

Existing processed record found: guesthost_Leu_4c0fb932_928798e3a7d451be.pkl (ID: 4606877b)

Initialized PeptideTranslocationEvents for raw record ID: 4c0fb932-91a1-44f6-b189-337a076ce9cd (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_4c0fb932_928798e3a7d451be.pkl

Events and features accumulated for raw record 4c0fb932: 29

Handling raw record: 11627000-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 696fa3b8)

Existing processed record found: guesthost_Leu_696fa3b8_928798e3a7d451be.pkl (ID: e4b38942)

Initialized PeptideTranslocationEvents for raw record ID: 696fa3b8-5a6d-49d4-8e05-78a123e23004 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_696fa3b8_928798e3a7d451be.pkl

Events and features accumulated for raw record 696fa3b8: 75

Handling raw record: 11627001-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 9a7c28f4)

Existing processed record found: guesthost_Leu_9a7c28f4_928798e3a7d451be.pkl (ID: 56f626df)

Initialized PeptideTranslocationEvents for raw record ID: 9a7c28f4-052c-49b7-8d9b-51b98fd9d408 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_9a7c28f4_928798e3a7d451be.pkl

Events and features accumulated for raw record 9a7c28f4: 88

Handling raw record: 11627001-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 983d60b9)

Existing processed record found: guesthost_Leu_983d60b9_928798e3a7d451be.pkl (ID: 9f7f1402)

Initialized PeptideTranslocationEvents for raw record ID: 983d60b9-868c-42d6-93ff-331b6540a9f3 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_983d60b9_928798e3a7d451be.pkl

Events and features accumulated for raw record 983d60b9: 130

Handling raw record: 11627001-guesthost_Leu-70_mV-400_Hz-rpt_3.csv (ID: fed8a325)

Existing processed record found: guesthost_Leu_fed8a325_928798e3a7d451be.pkl (ID: 97928293)

Initialized PeptideTranslocationEvents for raw record ID: fed8a325-7ca8-49c5-8542-e17e836bd5f7 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_fed8a325_928798e3a7d451be.pkl

Events and features accumulated for raw record fed8a325: 187

Handling raw record: 11627002-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 711a18a9)

Existing processed record found: guesthost_Leu_711a18a9_928798e3a7d451be.pkl (ID: 01967b11)

Initialized PeptideTranslocationEvents for raw record ID: 711a18a9-ab75-40e7-a176-33e5191ed407 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_711a18a9_928798e3a7d451be.pkl

Events and features accumulated for raw record 711a18a9: 276

Handling raw record: 11627002-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 04033d47)

Existing processed record found: guesthost_Leu_04033d47_928798e3a7d451be.pkl (ID: c4023ca0)

Initialized PeptideTranslocationEvents for raw record ID: 04033d47-b5f7-4e96-aaf6-eecd72d156ad (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_04033d47_928798e3a7d451be.pkl

Events and features accumulated for raw record 04033d47: 357

Handling raw record: 11627002-guesthost_Leu-70_mV-400_Hz-rpt_3.csv (ID: 5181603d)

Existing processed record found: guesthost_Leu_5181603d_928798e3a7d451be.pkl (ID: 34f5b921)

Initialized PeptideTranslocationEvents for raw record ID: 5181603d-d79e-4738-9225-b93051215dbb (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_5181603d_928798e3a7d451be.pkl

Events and features accumulated for raw record 5181603d: 469

Handling raw record: 11628001-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 20b02538)

Existing processed record found: guesthost_Leu_20b02538_928798e3a7d451be.pkl (ID: 9a43d632)

Initialized PeptideTranslocationEvents for raw record ID: 20b02538-d2c3-483b-a47f-2522b90aa8a6 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_20b02538_928798e3a7d451be.pkl

Events and features accumulated for raw record 20b02538: 474

Handling raw record: 11628001-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 6d83453e)

Existing processed record found: guesthost_Leu_6d83453e_928798e3a7d451be.pkl (ID: 01170cfc)

Initialized PeptideTranslocationEvents for raw record ID: 6d83453e-5d1d-4791-b698-a223e6662a3a (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_6d83453e_928798e3a7d451be.pkl

Events and features accumulated for raw record 6d83453e: 511

Handling raw record: 11803001-guesthost_Leu-70_mV-400_Hz-rpt_1.csv (ID: 5cc6c839)

Existing processed record found: guesthost_Leu_5cc6c839_928798e3a7d451be.pkl (ID: 8586bd09)

Initialized PeptideTranslocationEvents for raw record ID: 5cc6c839-8d90-4ef2-8b5a-27743a87d51b (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_5cc6c839_928798e3a7d451be.pkl

Events and features accumulated for raw record 5cc6c839: 531

Handling raw record: 11803001-guesthost_Leu-70_mV-400_Hz-rpt_2.csv (ID: 0579926b)

Existing processed record found: guesthost_Leu_0579926b_928798e3a7d451be.pkl (ID: 0880c379)

Initialized PeptideTranslocationEvents for raw record ID: 0579926b-5cbd-4998-94e7-e27ff429c4e8 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_0579926b_928798e3a7d451be.pkl

Events and features accumulated for raw record 0579926b: 627

Handling raw record: 11803001-guesthost_Leu-70_mV-400_Hz-rpt_3.csv (ID: 725178e0)

Existing processed record found: guesthost_Leu_725178e0_928798e3a7d451be.pkl (ID: 9c58a8aa)

Initialized PeptideTranslocationEvents for raw record ID: 725178e0-c37f-489c-a675-e046e392ec57 (guesthost_Leu) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Leu_725178e0_928798e3a7d451be.pkl

Events and features accumulated for raw record 725178e0: 683

Total events accumulated for guesthost_Leu: 683

Searching for data for Peptide: guesthost_Phe

Found 6 matching records for query: {'peptide_name': 'guesthost_Phe', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 6 raw records for 'guesthost_Phe'.

Handling raw record: 11622000-guesthost_Phe-70_mV-400_Hz.csv (ID: 58c04789)

Existing processed record found: guesthost_Phe_58c04789_928798e3a7d451be.pkl (ID: 33aeb532)

Initialized PeptideTranslocationEvents for raw record ID: 58c04789-2482-4cda-8440-847f967ee4fb (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_58c04789_928798e3a7d451be.pkl

Events and features accumulated for raw record 58c04789: 145

Handling raw record: 11622002-guesthost_Phe-70_mV-400_Hz.csv (ID: 8dd99e16)

Existing processed record found: guesthost_Phe_8dd99e16_928798e3a7d451be.pkl (ID: 80fe1206)

Initialized PeptideTranslocationEvents for raw record ID: 8dd99e16-e963-4f87-8a85-bb5c2082cd14 (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_8dd99e16_928798e3a7d451be.pkl

Events and features accumulated for raw record 8dd99e16: 221

Handling raw record: 11622003-guesthost_Phe-70_mV-400_Hz.csv (ID: afb88f87)

Existing processed record found: guesthost_Phe_afb88f87_928798e3a7d451be.pkl (ID: 7acbe878)

Initialized PeptideTranslocationEvents for raw record ID: afb88f87-0bea-4663-9860-28834fdf68d4 (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_afb88f87_928798e3a7d451be.pkl

Events and features accumulated for raw record afb88f87: 398

Handling raw record: 11803002-guesthost_Phe-70_mV-400_Hz-rpt_1.csv (ID: 3c77806e)

Existing processed record found: guesthost_Phe_3c77806e_928798e3a7d451be.pkl (ID: bb9445bf)

Initialized PeptideTranslocationEvents for raw record ID: 3c77806e-489a-4c46-a181-1238baecd20c (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_3c77806e_928798e3a7d451be.pkl

Events and features accumulated for raw record 3c77806e: 498

Handling raw record: 11803002-guesthost_Phe-70_mV-400_Hz-rpt_2.csv (ID: cde2542f)

Existing processed record found: guesthost_Phe_cde2542f_928798e3a7d451be.pkl (ID: 767bcf3f)

Initialized PeptideTranslocationEvents for raw record ID: cde2542f-4509-43f9-b510-2739554ed3db (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_cde2542f_928798e3a7d451be.pkl

Events and features accumulated for raw record cde2542f: 691

Handling raw record: 11803004-guesthost_Phe-70_mV-400_Hz.csv (ID: aac87e72)

Existing processed record found: guesthost_Phe_aac87e72_928798e3a7d451be.pkl (ID: 0d5a034b)

Initialized PeptideTranslocationEvents for raw record ID: aac87e72-cee6-4547-8405-7e0bba8fe2c4 (guesthost_Phe) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Phe_aac87e72_928798e3a7d451be.pkl

Events and features accumulated for raw record aac87e72: 854

Total events accumulated for guesthost_Phe: 854

Searching for data for Peptide: guesthost_Thr

Found 35 matching records for query: {'peptide_name': 'guesthost_Thr', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 35 raw records for 'guesthost_Thr'.

Handling raw record: 11502005-guesthost_Thr-70_mV-400_Hz-rpt_1.csv (ID: ba17e61c)

Existing processed record found: guesthost_Thr_ba17e61c_928798e3a7d451be.pkl (ID: 29d93d0e)

Initialized PeptideTranslocationEvents for raw record ID: ba17e61c-0dc6-4154-b6d3-6773a46be2aa (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_ba17e61c_928798e3a7d451be.pkl

Events and features accumulated for raw record ba17e61c: 31

Handling raw record: 11502005-guesthost_Thr-70_mV-400_Hz-rpt_2.csv (ID: 861920ce)

Existing processed record found: guesthost_Thr_861920ce_928798e3a7d451be.pkl (ID: b5dc89cb)

Initialized PeptideTranslocationEvents for raw record ID: 861920ce-fa05-4c53-b8a8-de7c7df98a04 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_861920ce_928798e3a7d451be.pkl

Events and features accumulated for raw record 861920ce: 43

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_1.csv (ID: 5c329ae8)

Existing processed record found: guesthost_Thr_5c329ae8_928798e3a7d451be.pkl (ID: 8e922ed9)

Initialized PeptideTranslocationEvents for raw record ID: 5c329ae8-4000-4587-a83c-fb39f74ba4a2 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_5c329ae8_928798e3a7d451be.pkl

Events and features accumulated for raw record 5c329ae8: 83

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_2.csv (ID: 9a949449)

Existing processed record found: guesthost_Thr_9a949449_928798e3a7d451be.pkl (ID: d1620dd3)

Initialized PeptideTranslocationEvents for raw record ID: 9a949449-7712-46b2-95ba-3f8130c9baa8 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_9a949449_928798e3a7d451be.pkl

Events and features accumulated for raw record 9a949449: 140

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_3.csv (ID: 175ef457)

Existing processed record found: guesthost_Thr_175ef457_928798e3a7d451be.pkl (ID: 41cacb12)

Initialized PeptideTranslocationEvents for raw record ID: 175ef457-cce9-492f-96dc-6a7d8eed73a7 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_175ef457_928798e3a7d451be.pkl

Events and features accumulated for raw record 175ef457: 185

Handling raw record: 11502006-guesthost_Thr-70_mV-400_Hz-rpt_4.csv (ID: f9dc44d2)

Existing processed record found: guesthost_Thr_f9dc44d2_928798e3a7d451be.pkl (ID: 5170b5e2)

Initialized PeptideTranslocationEvents for raw record ID: f9dc44d2-d1c8-4151-8c6d-64d4fecf7cdd (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_f9dc44d2_928798e3a7d451be.pkl

Events and features accumulated for raw record f9dc44d2: 317

Handling raw record: 11504002-guesthost_Thr-70_mV-400_Hz.csv (ID: 28a89f5b)

Existing processed record found: guesthost_Thr_28a89f5b_928798e3a7d451be.pkl (ID: a06d9323)

Initialized PeptideTranslocationEvents for raw record ID: 28a89f5b-f313-4a4f-9e1c-bb8b7796eae9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_28a89f5b_928798e3a7d451be.pkl

Events and features accumulated for raw record 28a89f5b: 527

Handling raw record: 11518000-guesthost_Thr-70_mV-400_Hz.csv (ID: 9da83a01)

Existing processed record found: guesthost_Thr_9da83a01_928798e3a7d451be.pkl (ID: dd346b6c)

Initialized PeptideTranslocationEvents for raw record ID: 9da83a01-c571-4307-a50f-7ead6304f6aa (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_9da83a01_928798e3a7d451be.pkl

Events and features accumulated for raw record 9da83a01: 622

Handling raw record: 11518002-guesthost_Thr-70_mV-400_Hz.csv (ID: 734e489f)

Existing processed record found: guesthost_Thr_734e489f_928798e3a7d451be.pkl (ID: 235092ca)

Initialized PeptideTranslocationEvents for raw record ID: 734e489f-c411-4b2a-9c8f-fb9d7cc68da0 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_734e489f_928798e3a7d451be.pkl

Events and features accumulated for raw record 734e489f: 685

Handling raw record: 11518003-guesthost_Thr-70_mV-400_Hz-rpt_1.csv (ID: 3a51946b)

Existing processed record found: guesthost_Thr_3a51946b_928798e3a7d451be.pkl (ID: 0916e63e)

Initialized PeptideTranslocationEvents for raw record ID: 3a51946b-77aa-43f3-b51b-a9e8bbd799f2 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3a51946b_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a51946b: 693

Handling raw record: 11518003-guesthost_Thr-70_mV-400_Hz-rpt_2.csv (ID: 5efa1d19)

Existing processed record found: guesthost_Thr_5efa1d19_928798e3a7d451be.pkl (ID: e63b96e6)

Initialized PeptideTranslocationEvents for raw record ID: 5efa1d19-8952-46f0-873b-21f5f1f57761 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_5efa1d19_928798e3a7d451be.pkl

Events and features accumulated for raw record 5efa1d19: 703

Handling raw record: 11518003-guesthost_Thr-70_mV-400_Hz-rpt_3.csv (ID: 876b9cc5)

Existing processed record found: guesthost_Thr_876b9cc5_928798e3a7d451be.pkl (ID: fad2e373)

Initialized PeptideTranslocationEvents for raw record ID: 876b9cc5-9103-4cf6-bd5b-994c10832639 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_876b9cc5_928798e3a7d451be.pkl

Events and features accumulated for raw record 876b9cc5: 950

Handling raw record: 11d13000-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: be8d51b1)

Existing processed record found: guesthost_Thr_be8d51b1_928798e3a7d451be.pkl (ID: f78a5397)

Initialized PeptideTranslocationEvents for raw record ID: be8d51b1-9ca0-4d98-8153-49385f576b55 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_be8d51b1_928798e3a7d451be.pkl

Events and features accumulated for raw record be8d51b1: 1100

Handling raw record: 11d13000-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 9b7de45e)

Existing processed record found: guesthost_Thr_9b7de45e_928798e3a7d451be.pkl (ID: ba56688d)

Initialized PeptideTranslocationEvents for raw record ID: 9b7de45e-45ac-40f9-ae9e-7add7a12ee49 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_9b7de45e_928798e3a7d451be.pkl

Events and features accumulated for raw record 9b7de45e: 1232

Handling raw record: 11d13000-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 3ca90994)

Existing processed record found: guesthost_Thr_3ca90994_928798e3a7d451be.pkl (ID: a8a615a1)

Initialized PeptideTranslocationEvents for raw record ID: 3ca90994-cef7-4a47-8f36-075b7b476dce (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3ca90994_928798e3a7d451be.pkl

Events and features accumulated for raw record 3ca90994: 1348

Handling raw record: 11d14001-guesthost_Thr-70_mV-400_Hz-downsampled.csv (ID: 5e8d04af)

Existing processed record found: guesthost_Thr_5e8d04af_928798e3a7d451be.pkl (ID: 83e8b0d5)

Initialized PeptideTranslocationEvents for raw record ID: 5e8d04af-f4ab-4b6a-b6fc-1571a9b17142 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_5e8d04af_928798e3a7d451be.pkl

Events and features accumulated for raw record 5e8d04af: 1888

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 680c529b)

Existing processed record found: guesthost_Thr_680c529b_928798e3a7d451be.pkl (ID: f6a7e781)

Initialized PeptideTranslocationEvents for raw record ID: 680c529b-417b-4b5d-af7c-50e32f33fa7d (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_680c529b_928798e3a7d451be.pkl

Events and features accumulated for raw record 680c529b: 2198

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 02dfd4b6)

Existing processed record found: guesthost_Thr_02dfd4b6_928798e3a7d451be.pkl (ID: 1288bdca)

Initialized PeptideTranslocationEvents for raw record ID: 02dfd4b6-0692-4fb8-89ec-c5867f6b96f9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_02dfd4b6_928798e3a7d451be.pkl

Events and features accumulated for raw record 02dfd4b6: 2319

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 94ee523e)

Existing processed record found: guesthost_Thr_94ee523e_928798e3a7d451be.pkl (ID: eba388ef)

Initialized PeptideTranslocationEvents for raw record ID: 94ee523e-6bcb-4e08-9d57-dfa7e613533a (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_94ee523e_928798e3a7d451be.pkl

Events and features accumulated for raw record 94ee523e: 2536

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: 29fc9aad)

Existing processed record found: guesthost_Thr_29fc9aad_928798e3a7d451be.pkl (ID: 020b2d20)

Initialized PeptideTranslocationEvents for raw record ID: 29fc9aad-242d-4470-8f68-5c94f5d618de (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_29fc9aad_928798e3a7d451be.pkl

Events and features accumulated for raw record 29fc9aad: 2637

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: 87d7c0fb)

Existing processed record found: guesthost_Thr_87d7c0fb_928798e3a7d451be.pkl (ID: f5ff0d22)

Initialized PeptideTranslocationEvents for raw record ID: 87d7c0fb-88c4-47a1-86d0-c409a5c5b6b6 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_87d7c0fb_928798e3a7d451be.pkl

Events and features accumulated for raw record 87d7c0fb: 2794

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: c01c888e)

Existing processed record found: guesthost_Thr_c01c888e_928798e3a7d451be.pkl (ID: fe9881c0)

Initialized PeptideTranslocationEvents for raw record ID: c01c888e-cae6-4ab1-9f1a-d42635bc3bd2 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_c01c888e_928798e3a7d451be.pkl

Events and features accumulated for raw record c01c888e: 2991

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: b8d108b9)

Existing processed record found: guesthost_Thr_b8d108b9_928798e3a7d451be.pkl (ID: 09513444)

Initialized PeptideTranslocationEvents for raw record ID: b8d108b9-640f-4c6c-b91a-01b02fe7890b (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_b8d108b9_928798e3a7d451be.pkl

Events and features accumulated for raw record b8d108b9: 3254

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_8.csv (ID: a6b0703a)

Existing processed record found: guesthost_Thr_a6b0703a_928798e3a7d451be.pkl (ID: 5caffa44)

Initialized PeptideTranslocationEvents for raw record ID: a6b0703a-c5e4-4f54-970f-65bbb37bc057 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_a6b0703a_928798e3a7d451be.pkl

Events and features accumulated for raw record a6b0703a: 3522

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_9.csv (ID: b364447b)

Existing processed record found: guesthost_Thr_b364447b_928798e3a7d451be.pkl (ID: bb0a7ee0)

Initialized PeptideTranslocationEvents for raw record ID: b364447b-5a7a-420f-980f-0b57c4a64853 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_b364447b_928798e3a7d451be.pkl

Events and features accumulated for raw record b364447b: 4358

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_10.csv (ID: 685e0ad8)

Existing processed record found: guesthost_Thr_685e0ad8_928798e3a7d451be.pkl (ID: 9d83a92e)

Initialized PeptideTranslocationEvents for raw record ID: 685e0ad8-4437-4009-9725-ca4558be6df9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_685e0ad8_928798e3a7d451be.pkl

Events and features accumulated for raw record 685e0ad8: 4584

Handling raw record: 11d14002-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_11.csv (ID: dfebf867)

Existing processed record found: guesthost_Thr_dfebf867_928798e3a7d451be.pkl (ID: b9e5e953)

Initialized PeptideTranslocationEvents for raw record ID: dfebf867-1175-4dd5-8d6a-2b6caa740193 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_dfebf867_928798e3a7d451be.pkl

Events and features accumulated for raw record dfebf867: 4843

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: e7d96b9e)

Existing processed record found: guesthost_Thr_e7d96b9e_928798e3a7d451be.pkl (ID: d66aaa02)

Initialized PeptideTranslocationEvents for raw record ID: e7d96b9e-03b2-4ddf-87a9-ce5b1b80c9c9 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_e7d96b9e_928798e3a7d451be.pkl

Events and features accumulated for raw record e7d96b9e: 5630

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 6a5d9900)

Existing processed record found: guesthost_Thr_6a5d9900_928798e3a7d451be.pkl (ID: ed1381ae)

Initialized PeptideTranslocationEvents for raw record ID: 6a5d9900-302e-4d5f-8951-e525ef48b546 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_6a5d9900_928798e3a7d451be.pkl

Events and features accumulated for raw record 6a5d9900: 6065

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 360e1faf)

Existing processed record found: guesthost_Thr_360e1faf_928798e3a7d451be.pkl (ID: bae7032e)

Initialized PeptideTranslocationEvents for raw record ID: 360e1faf-5f65-45f1-8736-c7fe12c203d5 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_360e1faf_928798e3a7d451be.pkl

Events and features accumulated for raw record 360e1faf: 6233

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: 3a4b1c5a)

Existing processed record found: guesthost_Thr_3a4b1c5a_928798e3a7d451be.pkl (ID: 9d160f60)

Initialized PeptideTranslocationEvents for raw record ID: 3a4b1c5a-4223-49e0-b533-7ff962b48e4e (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3a4b1c5a_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a4b1c5a: 6657

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: f33690f5)

Existing processed record found: guesthost_Thr_f33690f5_928798e3a7d451be.pkl (ID: d6718e90)

Initialized PeptideTranslocationEvents for raw record ID: f33690f5-c590-4a26-a761-64ebf0eeb252 (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_f33690f5_928798e3a7d451be.pkl

Events and features accumulated for raw record f33690f5: 7058

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: 98d5c52a)

Existing processed record found: guesthost_Thr_98d5c52a_928798e3a7d451be.pkl (ID: daf9c9fa)

Initialized PeptideTranslocationEvents for raw record ID: 98d5c52a-9a02-4991-b918-6b5b6ee27edc (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_98d5c52a_928798e3a7d451be.pkl

Events and features accumulated for raw record 98d5c52a: 7352

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: 3ad4e412)

Existing processed record found: guesthost_Thr_3ad4e412_928798e3a7d451be.pkl (ID: 2904700d)

Initialized PeptideTranslocationEvents for raw record ID: 3ad4e412-e152-4935-b353-fc12c994a0dd (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_3ad4e412_928798e3a7d451be.pkl

Events and features accumulated for raw record 3ad4e412: 7569

Handling raw record: 11d14003-guesthost_Thr-70_mV-400_Hz-downsampled-rpt_8.csv (ID: 4bf79491)

Existing processed record found: guesthost_Thr_4bf79491_928798e3a7d451be.pkl (ID: 5d3f48e2)

Initialized PeptideTranslocationEvents for raw record ID: 4bf79491-1a56-4010-baa7-cd9399c17a9d (guesthost_Thr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Thr_4bf79491_928798e3a7d451be.pkl

Events and features accumulated for raw record 4bf79491: 8048

Total events accumulated for guesthost_Thr: 8048

Searching for data for Peptide: guesthost_Trp

Found 11 matching records for query: {'peptide_name': 'guesthost_Trp', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 11 raw records for 'guesthost_Trp'.

Handling raw record: 11531005-guesthost_Trp-70_mV-400_Hz.csv (ID: 271fca42)

Existing processed record found: guesthost_Trp_271fca42_928798e3a7d451be.pkl (ID: f040e556)

Initialized PeptideTranslocationEvents for raw record ID: 271fca42-9adf-48d0-bf4a-3fc99f92c6b8 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_271fca42_928798e3a7d451be.pkl

Events and features accumulated for raw record 271fca42: 108

Handling raw record: 11531006-guesthost_Trp-70_MV-400_Hz-rpt_1.csv (ID: 1535e6d0)

Existing processed record found: guesthost_Trp_1535e6d0_928798e3a7d451be.pkl (ID: b2066ed3)

Initialized PeptideTranslocationEvents for raw record ID: 1535e6d0-aa47-4f17-8c25-ce74a53eaa51 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_1535e6d0_928798e3a7d451be.pkl

Events and features accumulated for raw record 1535e6d0: 127

Handling raw record: 11531006-guesthost_Trp-70_MV-400_Hz-rpt_2.csv (ID: 0adcf65a)

Existing processed record found: guesthost_Trp_0adcf65a_928798e3a7d451be.pkl (ID: 9b7de6da)

Initialized PeptideTranslocationEvents for raw record ID: 0adcf65a-5159-454b-a13a-26fccaec3be7 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_0adcf65a_928798e3a7d451be.pkl

Events and features accumulated for raw record 0adcf65a: 148

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_1.csv (ID: fd05404e)

Existing processed record found: guesthost_Trp_fd05404e_928798e3a7d451be.pkl (ID: 3ea33b64)

Initialized PeptideTranslocationEvents for raw record ID: fd05404e-065a-4a1d-a932-adc41dab59f1 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_fd05404e_928798e3a7d451be.pkl

Events and features accumulated for raw record fd05404e: 205

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_2.csv (ID: 19a54a8d)

Existing processed record found: guesthost_Trp_19a54a8d_928798e3a7d451be.pkl (ID: 8370e20b)

Initialized PeptideTranslocationEvents for raw record ID: 19a54a8d-f0f6-451b-bb95-ff8b76dcf662 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_19a54a8d_928798e3a7d451be.pkl

Events and features accumulated for raw record 19a54a8d: 286

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_3.csv (ID: 7426683d)

Existing processed record found: guesthost_Trp_7426683d_928798e3a7d451be.pkl (ID: d5463e73)

Initialized PeptideTranslocationEvents for raw record ID: 7426683d-67a2-4505-b122-4e8b1d7987be (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_7426683d_928798e3a7d451be.pkl

Events and features accumulated for raw record 7426683d: 341

Handling raw record: 11601000-guesthost_Trp-70_mV-400_Hz-rpt_4.csv (ID: 7bb2d542)

Existing processed record found: guesthost_Trp_7bb2d542_928798e3a7d451be.pkl (ID: bf953b4e)

Initialized PeptideTranslocationEvents for raw record ID: 7bb2d542-c6e3-4649-a9d8-4e1538e61139 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_7bb2d542_928798e3a7d451be.pkl

Events and features accumulated for raw record 7bb2d542: 409

Handling raw record: 11d07001-guesthost_Trp-70_mV-400_Hz-downsampled.csv (ID: ceef3dcf)

Existing processed record found: guesthost_Trp_ceef3dcf_928798e3a7d451be.pkl (ID: 2836aed9)

Initialized PeptideTranslocationEvents for raw record ID: ceef3dcf-a7d7-42bd-9069-1e3d101c5f4d (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_ceef3dcf_928798e3a7d451be.pkl

Events and features accumulated for raw record ceef3dcf: 853

Handling raw record: 11d07002-guesthost_Trp-70_mV-400_Hz-downsampled-rpt_1.csv (ID: cec5eefa)

Existing processed record found: guesthost_Trp_cec5eefa_928798e3a7d451be.pkl (ID: c8fe6d72)

Initialized PeptideTranslocationEvents for raw record ID: cec5eefa-d64f-4e6c-8b88-55944cacc854 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_cec5eefa_928798e3a7d451be.pkl

Events and features accumulated for raw record cec5eefa: 1031

Handling raw record: 11d07002-guesthost_Trp-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 4d7604d0)

Existing processed record found: guesthost_Trp_4d7604d0_928798e3a7d451be.pkl (ID: af51347d)

Initialized PeptideTranslocationEvents for raw record ID: 4d7604d0-3b1d-4453-b9ee-50d231aa7b67 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_4d7604d0_928798e3a7d451be.pkl

Events and features accumulated for raw record 4d7604d0: 1393

Handling raw record: 11d08003-guesthost_Trp-70_mV-400_Hz-downsampled.csv (ID: 02ccebb9)

Existing processed record found: guesthost_Trp_02ccebb9_928798e3a7d451be.pkl (ID: ebf04947)

Initialized PeptideTranslocationEvents for raw record ID: 02ccebb9-719f-4a8a-aaa7-c341709861b2 (guesthost_Trp) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Trp_02ccebb9_928798e3a7d451be.pkl

Events and features accumulated for raw record 02ccebb9: 1897

Total events accumulated for guesthost_Trp: 1897

Searching for data for Peptide: guesthost_TrpDL

Found 6 matching records for query: {'peptide_name': 'guesthost_TrpDL', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 6 raw records for 'guesthost_TrpDL'.

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_1.csv (ID: c3f93ada)

Existing processed record found: guesthost_TrpDL_c3f93ada_928798e3a7d451be.pkl (ID: abc97ded)

Initialized PeptideTranslocationEvents for raw record ID: c3f93ada-43c8-4caf-9b11-66309319a970 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_c3f93ada_928798e3a7d451be.pkl

Events and features accumulated for raw record c3f93ada: 25

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_2.csv (ID: c7d7a769)

Existing processed record found: guesthost_TrpDL_c7d7a769_928798e3a7d451be.pkl (ID: 2bd0ffe3)

Initialized PeptideTranslocationEvents for raw record ID: c7d7a769-d5f7-4f4a-8d48-0e97fbf660f0 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_c7d7a769_928798e3a7d451be.pkl

Events and features accumulated for raw record c7d7a769: 106

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 70c6489b)

Existing processed record found: guesthost_TrpDL_70c6489b_928798e3a7d451be.pkl (ID: bf148ea9)

Initialized PeptideTranslocationEvents for raw record ID: 70c6489b-5c0d-492b-9f50-d60dcfcbc95e (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_70c6489b_928798e3a7d451be.pkl

Events and features accumulated for raw record 70c6489b: 176

Handling raw record: 11811000-guesthost_TrpDL-70_mV-400_Hz-downsampled-rpt_4.csv (ID: fe527c95)

Existing processed record found: guesthost_TrpDL_fe527c95_928798e3a7d451be.pkl (ID: 1c07ef63)

Initialized PeptideTranslocationEvents for raw record ID: fe527c95-4ca1-4e31-8c28-65af5bc73f56 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_fe527c95_928798e3a7d451be.pkl

Events and features accumulated for raw record fe527c95: 367

Handling raw record: 11811001-guesthost_TrpDL-70_mV-400_Hz-downsampled.csv (ID: cadaffdc)

Existing processed record found: guesthost_TrpDL_cadaffdc_928798e3a7d451be.pkl (ID: aef1a03d)

Initialized PeptideTranslocationEvents for raw record ID: cadaffdc-8da2-45d3-9ae9-05c7cc4e9715 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_cadaffdc_928798e3a7d451be.pkl

Events and features accumulated for raw record cadaffdc: 420

Handling raw record: 11811002-guesthost_TrpDL-70_mV-400_Hz-downsampled.csv (ID: 7a976d8c)

Existing processed record found: guesthost_TrpDL_7a976d8c_928798e3a7d451be.pkl (ID: 5f702ce1)

Initialized PeptideTranslocationEvents for raw record ID: 7a976d8c-680f-4f05-aed4-66dae5cc1677 (guesthost_TrpDL) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_TrpDL_7a976d8c_928798e3a7d451be.pkl

Events and features accumulated for raw record 7a976d8c: 624

Total events accumulated for guesthost_TrpDL: 624

Searching for data for Peptide: guesthost_Tyr

Found 21 matching records for query: {'peptide_name': 'guesthost_Tyr', 'experimental': True, 'nanopore_name': 'PA', 'voltage': 70, 'time_sampling': 400, 'peptide_conc': {'$gte': 5, '$lte': 20}}

Found 21 raw records for 'guesthost_Tyr'.

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 68581089)

Existing processed record found: guesthost_Tyr_68581089_928798e3a7d451be.pkl (ID: 7267df0d)

Initialized PeptideTranslocationEvents for raw record ID: 68581089-3c7d-4659-931e-fb33264345e4 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_68581089_928798e3a7d451be.pkl

Events and features accumulated for raw record 68581089: 172

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 15a729e7)

Existing processed record found: guesthost_Tyr_15a729e7_928798e3a7d451be.pkl (ID: eda667a9)

Initialized PeptideTranslocationEvents for raw record ID: 15a729e7-9170-4e88-92a6-fde6ab903eaa (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_15a729e7_928798e3a7d451be.pkl

Events and features accumulated for raw record 15a729e7: 536

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 20eee760)

Existing processed record found: guesthost_Tyr_20eee760_928798e3a7d451be.pkl (ID: ee00dfba)

Initialized PeptideTranslocationEvents for raw record ID: 20eee760-89ca-4b93-9323-a539d7cb6e6f (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_20eee760_928798e3a7d451be.pkl

Events and features accumulated for raw record 20eee760: 652

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: 37b9bab4)

Existing processed record found: guesthost_Tyr_37b9bab4_928798e3a7d451be.pkl (ID: 67254548)

Initialized PeptideTranslocationEvents for raw record ID: 37b9bab4-d7d1-43e7-97c8-afdd05868c30 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_37b9bab4_928798e3a7d451be.pkl

Events and features accumulated for raw record 37b9bab4: 759

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: c91101f7)

Existing processed record found: guesthost_Tyr_c91101f7_928798e3a7d451be.pkl (ID: 42de2479)

Initialized PeptideTranslocationEvents for raw record ID: c91101f7-1714-43a6-983e-669757ddb107 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_c91101f7_928798e3a7d451be.pkl

Events and features accumulated for raw record c91101f7: 960

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: b46948b6)

Existing processed record found: guesthost_Tyr_b46948b6_928798e3a7d451be.pkl (ID: e74f21f9)

Initialized PeptideTranslocationEvents for raw record ID: b46948b6-0e14-496b-81f6-7b00548768d6 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_b46948b6_928798e3a7d451be.pkl

Events and features accumulated for raw record b46948b6: 1093

Handling raw record: 11n09001-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: ee264950)

Existing processed record found: guesthost_Tyr_ee264950_928798e3a7d451be.pkl (ID: 4082ab0f)

Initialized PeptideTranslocationEvents for raw record ID: ee264950-6aa3-4fc1-aae0-3a2c3fdea4d6 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_ee264950_928798e3a7d451be.pkl

Events and features accumulated for raw record ee264950: 1208

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: da1a36fe)

Existing processed record found: guesthost_Tyr_da1a36fe_928798e3a7d451be.pkl (ID: ee9d52df)

Initialized PeptideTranslocationEvents for raw record ID: da1a36fe-3fc4-4118-8bd4-87586748425d (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_da1a36fe_928798e3a7d451be.pkl

Events and features accumulated for raw record da1a36fe: 1271

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: 7845c78e)

Existing processed record found: guesthost_Tyr_7845c78e_928798e3a7d451be.pkl (ID: 580a2c8e)

Initialized PeptideTranslocationEvents for raw record ID: 7845c78e-44b6-40a6-96be-0848c4049d44 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_7845c78e_928798e3a7d451be.pkl

Events and features accumulated for raw record 7845c78e: 1321

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 2bc9b217)

Existing processed record found: guesthost_Tyr_2bc9b217_928798e3a7d451be.pkl (ID: c98a5f32)

Initialized PeptideTranslocationEvents for raw record ID: 2bc9b217-dc3d-4a7a-b411-2bdfdb06464c (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_2bc9b217_928798e3a7d451be.pkl

Events and features accumulated for raw record 2bc9b217: 1355

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_4.csv (ID: ff81ed1d)

Existing processed record found: guesthost_Tyr_ff81ed1d_928798e3a7d451be.pkl (ID: 8e5e7198)

Initialized PeptideTranslocationEvents for raw record ID: ff81ed1d-b6b8-469c-b0e3-6043ca68b9c3 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_ff81ed1d_928798e3a7d451be.pkl

Events and features accumulated for raw record ff81ed1d: 1393

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_5.csv (ID: 3a7c9d6f)

Existing processed record found: guesthost_Tyr_3a7c9d6f_928798e3a7d451be.pkl (ID: 8264309b)

Initialized PeptideTranslocationEvents for raw record ID: 3a7c9d6f-f312-4a10-bb69-815042df3e8b (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_3a7c9d6f_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a7c9d6f: 1563

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_6.csv (ID: c82d8fe8)

Existing processed record found: guesthost_Tyr_c82d8fe8_928798e3a7d451be.pkl (ID: ec8df58b)

Initialized PeptideTranslocationEvents for raw record ID: c82d8fe8-5168-4c03-ae34-ba6f030ccc3b (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_c82d8fe8_928798e3a7d451be.pkl

Events and features accumulated for raw record c82d8fe8: 1912

Handling raw record: 11n09002-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_7.csv (ID: 2d503a37)

Existing processed record found: guesthost_Tyr_2d503a37_928798e3a7d451be.pkl (ID: c7c69284)

Initialized PeptideTranslocationEvents for raw record ID: 2d503a37-d0aa-402a-a387-3eb25db7114c (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_2d503a37_928798e3a7d451be.pkl

Events and features accumulated for raw record 2d503a37: 2150

Handling raw record: 11n09003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: e60a78f8)

Existing processed record found: guesthost_Tyr_e60a78f8_928798e3a7d451be.pkl (ID: 9ceb4de0)

Initialized PeptideTranslocationEvents for raw record ID: e60a78f8-fa51-4c31-a98c-f322c52370f1 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_e60a78f8_928798e3a7d451be.pkl

Events and features accumulated for raw record e60a78f8: 2680

Handling raw record: 11n09003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: e72b890d)

Existing processed record found: guesthost_Tyr_e72b890d_928798e3a7d451be.pkl (ID: 60591cca)

Initialized PeptideTranslocationEvents for raw record ID: e72b890d-1b16-4576-8128-9a24315b64fb (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_e72b890d_928798e3a7d451be.pkl

Events and features accumulated for raw record e72b890d: 3333

Handling raw record: 11n09004-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 3a940d8c)

Existing processed record found: guesthost_Tyr_3a940d8c_928798e3a7d451be.pkl (ID: 7fec2f85)

Initialized PeptideTranslocationEvents for raw record ID: 3a940d8c-cefb-466a-9895-1c284d5be754 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_3a940d8c_928798e3a7d451be.pkl

Events and features accumulated for raw record 3a940d8c: 3507

Handling raw record: 11n09004-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: f818de07)

Existing processed record found: guesthost_Tyr_f818de07_928798e3a7d451be.pkl (ID: 81a2c35e)

Initialized PeptideTranslocationEvents for raw record ID: f818de07-8968-4cc8-99f4-1b88414ed47e (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_f818de07_928798e3a7d451be.pkl

Events and features accumulated for raw record f818de07: 4255

Handling raw record: 11n09004-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_3.csv (ID: 6d047d09)

Existing processed record found: guesthost_Tyr_6d047d09_928798e3a7d451be.pkl (ID: cd013625)

Initialized PeptideTranslocationEvents for raw record ID: 6d047d09-3cf0-48cf-89aa-f630cc0c3a1e (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_6d047d09_928798e3a7d451be.pkl

Events and features accumulated for raw record 6d047d09: 4425

Handling raw record: 11n16003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_1.csv (ID: 5c738423)

Existing processed record found: guesthost_Tyr_5c738423_928798e3a7d451be.pkl (ID: c9d37c23)

Initialized PeptideTranslocationEvents for raw record ID: 5c738423-7435-4441-9bed-3fb4f3640dba (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_5c738423_928798e3a7d451be.pkl

Events and features accumulated for raw record 5c738423: 5257

Handling raw record: 11n16003-guesthost_Tyr-70_mV-400_Hz-downsampled-rpt_2.csv (ID: d3f80d9c)

Existing processed record found: guesthost_Tyr_d3f80d9c_928798e3a7d451be.pkl (ID: 25a1e197)

Initialized PeptideTranslocationEvents for raw record ID: d3f80d9c-b9e7-4e80-9785-79ccbfb0e766 (guesthost_Tyr) with parameters: {'high_pass_cutoff_frequency': 0, 'filter_order': 3, 'polynomial_degree': 2, 'apply_polynomial_correction': True, 'sampling_rate_hz': 400, 'min_event_duration_ms': 7.5, 'low_pass_filter_type': 'none', 'low_pass_filter_params': {'bessel': {'cutoff_hz': 250, 'order': 4}, 'median': {'window_size': 3}}}

Successfully loaded events from /Users/bakrantz/Documents/python/biosensor-end-to-end-current-classification/processed_data/guesthost_Tyr_d3f80d9c_928798e3a7d451be.pkl

Events and features accumulated for raw record d3f80d9c: 5743

Total events accumulated for guesthost_Tyr: 5743

--- Finished Data Loading/Processing ---

Total translocation events loaded before downsampling: 190123

All 69 event-level feature names are consistent across all loaded PKL files.

--- Applying Downsampling ---

Peptide 'guesthost_Ala' (Label 0): 27623 events

Peptide 'guesthost_Leu' (Label 1): 4437 events

Peptide 'guesthost_Phe' (Label 2): 2807 events

Peptide 'guesthost_Thr' (Label 3): 101195 events

Peptide 'guesthost_Trp' (Label 4): 6798 events

Peptide 'guesthost_TrpDL' (Label 5): 1718 events

Peptide 'guesthost_Tyr' (Label 6): 45545 events

Downsampling all peptides to 1718 events based on 'guesthost_TrpDL'.

Peptide 'guesthost_Ala' (Label 0) downsampled from 27623 to 1718 events.

Peptide 'guesthost_Leu' (Label 1) downsampled from 4437 to 1718 events.

Peptide 'guesthost_Phe' (Label 2) downsampled from 2807 to 1718 events.

Peptide 'guesthost_Thr' (Label 3) downsampled from 101195 to 1718 events.

Peptide 'guesthost_Trp' (Label 4) downsampled from 6798 to 1718 events.

Peptide 'guesthost_TrpDL' (Label 5) kept 1718 events (no downsampling needed).

Peptide 'guesthost_Tyr' (Label 6) downsampled from 45545 to 1718 events.

Total translocation events after downsampling: 12026

Total events reloaded for XGBoost (no downsampling): 12026

Shape of features for XGBoost: (12026, 69)

Splitting full dataset (sequences, features, labels) into train/test for XGBoost...

Final Train set size: 9620 samples

Final Test set size: 2406 samples

Converting final train/test sequences to TensorFlow Tensors for embedding generation...

Conversion complete.

Generating embeddings for final train and test sets using the trained CNN Encoder...

/opt/anaconda3/envs/tf-macos/lib/python3.10/site-packages/keras/src/layers/layer.py:940: UserWarning: Layer 'conv1d_0' (of type Conv1D) was passed an input with a mask attached to it. However, this layer does not support masking and will therefore destroy the mask information. Downstream layers will not see the mask.

warnings.warn(

301/301 ━━━━━━━━━━━━━━━━━━━━ 1s 3ms/step

76/76 ━━━━━━━━━━━━━━━━━━━━ 0s 3ms/step

Train embeddings shape: (9620, 128)

Test embeddings shape: (2406, 128)

Combining embeddings and original features for XGBoost...

Combined training data shape for XGBoost: (9620, 197)

Combined testing data shape for XGBoost: (2406, 197)

Initializing XGBoost classifier...

Training XGBoost classifier on combined data...

/opt/anaconda3/envs/tf-macos/lib/python3.10/site-packages/xgboost/callback.py:386: UserWarning: [16:56:41] WARNING: /Users/runner/work/xgboost/xgboost/src/learner.cc:738:

Parameters: { "use_label_encoder" } are not used.

self.starting_round = model.num_boosted_rounds()

[0]	validation_0-merror:0.38695

[1]	validation_0-merror:0.36575

[2]	validation_0-merror:0.35952

[3]	validation_0-merror:0.35578

[4]	validation_0-merror:0.35370

[5]	validation_0-merror:0.35411

[6]	validation_0-merror:0.34954

[7]	validation_0-merror:0.34497

[8]	validation_0-merror:0.34705

[9]	validation_0-merror:0.34414

[10]	validation_0-merror:0.34331

[11]	validation_0-merror:0.34414

[12]	validation_0-merror:0.34123

[13]	validation_0-merror:0.34123

[14]	validation_0-merror:0.34206

[15]	validation_0-merror:0.34123

[16]	validation_0-merror:0.33791

[17]	validation_0-merror:0.33500

[18]	validation_0-merror:0.33749

[19]	validation_0-merror:0.33250

[20]	validation_0-merror:0.33416

[21]	validation_0-merror:0.33375

[22]	validation_0-merror:0.33209

[23]	validation_0-merror:0.33084

[24]	validation_0-merror:0.33001

[25]	validation_0-merror:0.32918

[26]	validation_0-merror:0.32627

[27]	validation_0-merror:0.32751

[28]	validation_0-merror:0.32710

[29]	validation_0-merror:0.32377

[30]	validation_0-merror:0.32377

[31]	validation_0-merror:0.32377

[32]	validation_0-merror:0.32211

[33]	validation_0-merror:0.32170

[34]	validation_0-merror:0.32253

[35]	validation_0-merror:0.32086

[36]	validation_0-merror:0.32253

[37]	validation_0-merror:0.32253

[38]	validation_0-merror:0.32003

[39]	validation_0-merror:0.32128

[40]	validation_0-merror:0.32086

[41]	validation_0-merror:0.31920

[42]	validation_0-merror:0.31837

[43]	validation_0-merror:0.31837

[44]	validation_0-merror:0.31712

[45]	validation_0-merror:0.31796

[46]	validation_0-merror:0.31629

[47]	validation_0-merror:0.31712

[48]	validation_0-merror:0.31629

[49]	validation_0-merror:0.31712

[50]	validation_0-merror:0.31712

[51]	validation_0-merror:0.31629

[52]	validation_0-merror:0.31463

[53]	validation_0-merror:0.31380

[54]	validation_0-merror:0.31380

[55]	validation_0-merror:0.31380

[56]	validation_0-merror:0.31421

[57]	validation_0-merror:0.31380

[58]	validation_0-merror:0.31338

[59]	validation_0-merror:0.31380

[60]	validation_0-merror:0.31421

[61]	validation_0-merror:0.31255

[62]	validation_0-merror:0.31421

[63]	validation_0-merror:0.31338

[64]	validation_0-merror:0.31297

[65]	validation_0-merror:0.31297

[66]	validation_0-merror:0.31131

[67]	validation_0-merror:0.31089

[68]	validation_0-merror:0.30964

[69]	validation_0-merror:0.31047

[70]	validation_0-merror:0.31172

[71]	validation_0-merror:0.30881

[72]	validation_0-merror:0.30840

[73]	validation_0-merror:0.30798

[74]	validation_0-merror:0.30798

[75]	validation_0-merror:0.30673

[76]	validation_0-merror:0.30673

[77]	validation_0-merror:0.30590

[78]	validation_0-merror:0.30466

[79]	validation_0-merror:0.30216

[80]	validation_0-merror:0.30175

[81]	validation_0-merror:0.30175

[82]	validation_0-merror:0.30175

[83]	validation_0-merror:0.30050

[84]	validation_0-merror:0.29925

[85]	validation_0-merror:0.29884

[86]	validation_0-merror:0.29842

[87]	validation_0-merror:0.29800

[88]	validation_0-merror:0.29800

[89]	validation_0-merror:0.29759

[90]	validation_0-merror:0.29842

[91]	validation_0-merror:0.29593

[92]	validation_0-merror:0.29551

[93]	validation_0-merror:0.29551

[94]	validation_0-merror:0.29551

[95]	validation_0-merror:0.29468

[96]	validation_0-merror:0.29426

[97]	validation_0-merror:0.29343

[98]	validation_0-merror:0.29135

[99]	validation_0-merror:0.29011

[100]	validation_0-merror:0.29094

[101]	validation_0-merror:0.29011

[102]	validation_0-merror:0.29135

[103]	validation_0-merror:0.29219

[104]	validation_0-merror:0.29219

[105]	validation_0-merror:0.29302

[106]	validation_0-merror:0.29177

[107]	validation_0-merror:0.29052

[108]	validation_0-merror:0.29219

[109]	validation_0-merror:0.29094

[110]	validation_0-merror:0.29052

[111]	validation_0-merror:0.29094

[112]	validation_0-merror:0.28886

[113]	validation_0-merror:0.28886

[114]	validation_0-merror:0.28720

[115]	validation_0-merror:0.28761

[116]	validation_0-merror:0.28720

[117]	validation_0-merror:0.28761

[118]	validation_0-merror:0.28803

[119]	validation_0-merror:0.28845

[120]	validation_0-merror:0.28845

[121]	validation_0-merror:0.28845

[122]	validation_0-merror:0.28720

[123]	validation_0-merror:0.28886

[124]	validation_0-merror:0.28761

[125]	validation_0-merror:0.28554

[126]	validation_0-merror:0.28678

[127]	validation_0-merror:0.28637

[128]	validation_0-merror:0.28263

[129]	validation_0-merror:0.28304

[130]	validation_0-merror:0.28180

[131]	validation_0-merror:0.28221

[132]	validation_0-merror:0.28221

[133]	validation_0-merror:0.28304

[134]	validation_0-merror:0.28180

[135]	validation_0-merror:0.28263

[136]	validation_0-merror:0.28221

[137]	validation_0-merror:0.28096

[138]	validation_0-merror:0.28138

[139]	validation_0-merror:0.28180

[140]	validation_0-merror:0.28138

[141]	validation_0-merror:0.28013

[142]	validation_0-merror:0.28096

[143]	validation_0-merror:0.28180

[144]	validation_0-merror:0.28096

[145]	validation_0-merror:0.28138

[146]	validation_0-merror:0.28180

[147]	validation_0-merror:0.28221

[148]	validation_0-merror:0.28263

[149]	validation_0-merror:0.28180

[150]	validation_0-merror:0.28055

[151]	validation_0-merror:0.28013

[152]	validation_0-merror:0.28055

[153]	validation_0-merror:0.28013

[154]	validation_0-merror:0.28055

[155]	validation_0-merror:0.27972

[156]	validation_0-merror:0.27847

[157]	validation_0-merror:0.27847

[158]	validation_0-merror:0.27847

[159]	validation_0-merror:0.27722

[160]	validation_0-merror:0.27681

[161]	validation_0-merror:0.27473

[162]	validation_0-merror:0.27473

[163]	validation_0-merror:0.27639

[164]	validation_0-merror:0.27598

[165]	validation_0-merror:0.27598

[166]	validation_0-merror:0.27681

[167]	validation_0-merror:0.27639

[168]	validation_0-merror:0.27681

[169]	validation_0-merror:0.27722

[170]	validation_0-merror:0.27722

[171]	validation_0-merror:0.27681

[172]	validation_0-merror:0.27722

[173]	validation_0-merror:0.27556

[174]	validation_0-merror:0.27473

[175]	validation_0-merror:0.27556

[176]	validation_0-merror:0.27431

[177]	validation_0-merror:0.27473

[178]	validation_0-merror:0.27431

[179]	validation_0-merror:0.27348

[180]	validation_0-merror:0.27265

[181]	validation_0-merror:0.27265

[182]	validation_0-merror:0.27140

[183]	validation_0-merror:0.27016

[184]	validation_0-merror:0.27016

[185]	validation_0-merror:0.27016

[186]	validation_0-merror:0.26933

[187]	validation_0-merror:0.26891

[188]	validation_0-merror:0.26891

[189]	validation_0-merror:0.26850

[190]	validation_0-merror:0.26850

[191]	validation_0-merror:0.26808

[192]	validation_0-merror:0.26850

[193]	validation_0-merror:0.26850

[194]	validation_0-merror:0.26808

[195]	validation_0-merror:0.26683

[196]	validation_0-merror:0.26725

[197]	validation_0-merror:0.26600

[198]	validation_0-merror:0.26517

[199]	validation_0-merror:0.26559

[200]	validation_0-merror:0.26559

[201]	validation_0-merror:0.26559

[202]	validation_0-merror:0.26392

[203]	validation_0-merror:0.26351

[204]	validation_0-merror:0.26309

[205]	validation_0-merror:0.26185

[206]	validation_0-merror:0.26309

[207]	validation_0-merror:0.26143

[208]	validation_0-merror:0.26060

[209]	validation_0-merror:0.26018

[210]	validation_0-merror:0.25894

[211]	validation_0-merror:0.25852

[212]	validation_0-merror:0.25810

[213]	validation_0-merror:0.25852

[214]	validation_0-merror:0.25852

[215]	validation_0-merror:0.25894

[216]	validation_0-merror:0.25935

[217]	validation_0-merror:0.25810

[218]	validation_0-merror:0.25810

[219]	validation_0-merror:0.25686

[220]	validation_0-merror:0.25603

[221]	validation_0-merror:0.25561

[222]	validation_0-merror:0.25603

[223]	validation_0-merror:0.25520

[224]	validation_0-merror:0.25478

[225]	validation_0-merror:0.25520

[226]	validation_0-merror:0.25478

[227]	validation_0-merror:0.25395

[228]	validation_0-merror:0.25395

[229]	validation_0-merror:0.25312

[230]	validation_0-merror:0.25270

[231]	validation_0-merror:0.25270

[232]	validation_0-merror:0.25104

[233]	validation_0-merror:0.25104

[234]	validation_0-merror:0.25187

[235]	validation_0-merror:0.25187

[236]	validation_0-merror:0.25145

[237]	validation_0-merror:0.25312

[238]	validation_0-merror:0.25145

[239]	validation_0-merror:0.25145

[240]	validation_0-merror:0.25187

[241]	validation_0-merror:0.25104

[242]	validation_0-merror:0.25062

[243]	validation_0-merror:0.25062

[244]	validation_0-merror:0.25021

[245]	validation_0-merror:0.24979

[246]	validation_0-merror:0.24855

[247]	validation_0-merror:0.24855

[248]	validation_0-merror:0.25021

[249]	validation_0-merror:0.25062

[250]	validation_0-merror:0.24896

[251]	validation_0-merror:0.24813

[252]	validation_0-merror:0.24771

[253]	validation_0-merror:0.24688

[254]	validation_0-merror:0.24771

[255]	validation_0-merror:0.24730

[256]	validation_0-merror:0.24771

[257]	validation_0-merror:0.24855

[258]	validation_0-merror:0.24813

[259]	validation_0-merror:0.24896

[260]	validation_0-merror:0.24938

[261]	validation_0-merror:0.24896

[262]	validation_0-merror:0.24855

[263]	validation_0-merror:0.24813

[264]	validation_0-merror:0.24855

[265]	validation_0-merror:0.24813

[266]	validation_0-merror:0.24855

[267]	validation_0-merror:0.24813

[268]	validation_0-merror:0.24896

[269]	validation_0-merror:0.24855

[270]	validation_0-merror:0.24896

[271]	validation_0-merror:0.24813

[272]	validation_0-merror:0.24688

[273]	validation_0-merror:0.24688

[274]	validation_0-merror:0.24688

[275]	validation_0-merror:0.24647

[276]	validation_0-merror:0.24647

[277]	validation_0-merror:0.24647

[278]	validation_0-merror:0.24647

[279]	validation_0-merror:0.24688

[280]	validation_0-merror:0.24605

[281]	validation_0-merror:0.24564

[282]	validation_0-merror:0.24605

[283]	validation_0-merror:0.24564

[284]	validation_0-merror:0.24522

[285]	validation_0-merror:0.24522

[286]	validation_0-merror:0.24480

[287]	validation_0-merror:0.24439

[288]	validation_0-merror:0.24480

[289]	validation_0-merror:0.24439

[290]	validation_0-merror:0.24439

[291]	validation_0-merror:0.24439

[292]	validation_0-merror:0.24480

[293]	validation_0-merror:0.24522

[294]	validation_0-merror:0.24522

[295]	validation_0-merror:0.24522

[296]	validation_0-merror:0.24522

[297]	validation_0-merror:0.24480

[298]	validation_0-merror:0.24397

[299]	validation_0-merror:0.24439

[300]	validation_0-merror:0.24480

[301]	validation_0-merror:0.24397

[302]	validation_0-merror:0.24439

[303]	validation_0-merror:0.24480

[304]	validation_0-merror:0.24439

[305]	validation_0-merror:0.24356

[306]	validation_0-merror:0.24356

[307]	validation_0-merror:0.24273

[308]	validation_0-merror:0.24273

[309]	validation_0-merror:0.24190

[310]	validation_0-merror:0.24231

[311]	validation_0-merror:0.24190

[312]	validation_0-merror:0.24190

[313]	validation_0-merror:0.24190

[314]	validation_0-merror:0.24148

[315]	validation_0-merror:0.24106

[316]	validation_0-merror:0.24065

[317]	validation_0-merror:0.24148

[318]	validation_0-merror:0.24231

[319]	validation_0-merror:0.24314

[320]	validation_0-merror:0.24356

[321]	validation_0-merror:0.24356

[322]	validation_0-merror:0.24397

[323]	validation_0-merror:0.24356

[324]	validation_0-merror:0.24190

[325]	validation_0-merror:0.24231

[326]	validation_0-merror:0.24273

[327]	validation_0-merror:0.24273

[328]	validation_0-merror:0.24356

[329]	validation_0-merror:0.24273

[330]	validation_0-merror:0.24273

[331]	validation_0-merror:0.24273

[332]	validation_0-merror:0.24273

[333]	validation_0-merror:0.24273

[334]	validation_0-merror:0.24231

[335]	validation_0-merror:0.24231

[336]	validation_0-merror:0.24231

[337]	validation_0-merror:0.24231

[338]	validation_0-merror:0.24190

[339]	validation_0-merror:0.24148

[340]	validation_0-merror:0.24148

[341]	validation_0-merror:0.24148

[342]	validation_0-merror:0.24065

[343]	validation_0-merror:0.23940

[344]	validation_0-merror:0.23899

[345]	validation_0-merror:0.23940

[346]	validation_0-merror:0.23940

[347]	validation_0-merror:0.23982

[348]	validation_0-merror:0.23940

[349]	validation_0-merror:0.23899

[350]	validation_0-merror:0.23899

[351]	validation_0-merror:0.23899

[352]	validation_0-merror:0.23899

[353]	validation_0-merror:0.23774

[354]	validation_0-merror:0.23774

[355]	validation_0-merror:0.23815

[356]	validation_0-merror:0.23857

[357]	validation_0-merror:0.23857

[358]	validation_0-merror:0.23815

[359]	validation_0-merror:0.23982

[360]	validation_0-merror:0.24023

[361]	validation_0-merror:0.23982

[362]	validation_0-merror:0.23982

[363]	validation_0-merror:0.23940

[364]	validation_0-merror:0.23982

[365]	validation_0-merror:0.23982

[366]	validation_0-merror:0.23940

[367]	validation_0-merror:0.23940

[368]	validation_0-merror:0.23982

[369]	validation_0-merror:0.23899

[370]	validation_0-merror:0.24023

[371]	validation_0-merror:0.23982

[372]	validation_0-merror:0.23940

[373]	validation_0-merror:0.23899

[374]	validation_0-merror:0.23857

[375]	validation_0-merror:0.23899

[376]	validation_0-merror:0.23899

[377]	validation_0-merror:0.23857

[378]	validation_0-merror:0.23857

[379]	validation_0-merror:0.23857

[380]	validation_0-merror:0.23815

[381]	validation_0-merror:0.23899

[382]	validation_0-merror:0.23940

[383]	validation_0-merror:0.23774

[384]	validation_0-merror:0.23774

[385]	validation_0-merror:0.23691

[386]	validation_0-merror:0.23774

[387]	validation_0-merror:0.23815

[388]	validation_0-merror:0.23857

[389]	validation_0-merror:0.23857

[390]	validation_0-merror:0.23815

[391]	validation_0-merror:0.23815

[392]	validation_0-merror:0.23774

[393]	validation_0-merror:0.23774

[394]	validation_0-merror:0.23899

[395]	validation_0-merror:0.23857

[396]	validation_0-merror:0.23899

[397]	validation_0-merror:0.23899

[398]	validation_0-merror:0.23899

[399]	validation_0-merror:0.23815

[400]	validation_0-merror:0.23815

[401]	validation_0-merror:0.23774

[402]	validation_0-merror:0.23732

[403]	validation_0-merror:0.23732

[404]	validation_0-merror:0.23649

[405]	validation_0-merror:0.23649

[406]	validation_0-merror:0.23608

[407]	validation_0-merror:0.23566

[408]	validation_0-merror:0.23566

[409]	validation_0-merror:0.23566

[410]	validation_0-merror:0.23566

[411]	validation_0-merror:0.23441

[412]	validation_0-merror:0.23483

[413]	validation_0-merror:0.23441

[414]	validation_0-merror:0.23441

[415]	validation_0-merror:0.23400

[416]	validation_0-merror:0.23483

[417]	validation_0-merror:0.23566

[418]	validation_0-merror:0.23525

[419]	validation_0-merror:0.23441

[420]	validation_0-merror:0.23483

[421]	validation_0-merror:0.23483

[422]	validation_0-merror:0.23441

[423]	validation_0-merror:0.23400

[424]	validation_0-merror:0.23400

[425]	validation_0-merror:0.23441

[426]	validation_0-merror:0.23483

[427]	validation_0-merror:0.23400

[428]	validation_0-merror:0.23317

[429]	validation_0-merror:0.23317

[430]	validation_0-merror:0.23358

[431]	validation_0-merror:0.23358

[432]	validation_0-merror:0.23400

[433]	validation_0-merror:0.23400

[434]	validation_0-merror:0.23317

[435]	validation_0-merror:0.23483

[436]	validation_0-merror:0.23358

[437]	validation_0-merror:0.23317

[438]	validation_0-merror:0.23317

[439]	validation_0-merror:0.23317

[440]	validation_0-merror:0.23317

[441]	validation_0-merror:0.23275

[442]	validation_0-merror:0.23317

[443]	validation_0-merror:0.23317

[444]	validation_0-merror:0.23234

[445]	validation_0-merror:0.23275

[446]	validation_0-merror:0.23192

[447]	validation_0-merror:0.23109

[448]	validation_0-merror:0.23150

[449]	validation_0-merror:0.23192

[450]	validation_0-merror:0.23150

[451]	validation_0-merror:0.23192

[452]	validation_0-merror:0.23234

[453]	validation_0-merror:0.23234

[454]	validation_0-merror:0.23275

[455]	validation_0-merror:0.23192

[456]	validation_0-merror:0.23234

[457]	validation_0-merror:0.23234

[458]	validation_0-merror:0.23275

[459]	validation_0-merror:0.23192

[460]	validation_0-merror:0.23067

[461]	validation_0-merror:0.23067

[462]	validation_0-merror:0.23067

[463]	validation_0-merror:0.22984

[464]	validation_0-merror:0.22984

[465]	validation_0-merror:0.23067

[466]	validation_0-merror:0.22943

[467]	validation_0-merror:0.22984

[468]	validation_0-merror:0.22984

[469]	validation_0-merror:0.23026

[470]	validation_0-merror:0.22984

[471]	validation_0-merror:0.22901

[472]	validation_0-merror:0.22943

[473]	validation_0-merror:0.22901

[474]	validation_0-merror:0.22860

[475]	validation_0-merror:0.22818

[476]	validation_0-merror:0.22818

[477]	validation_0-merror:0.22776

[478]	validation_0-merror:0.22735

[479]	validation_0-merror:0.22818

[480]	validation_0-merror:0.22776

[481]	validation_0-merror:0.22818

[482]	validation_0-merror:0.22901

[483]	validation_0-merror:0.22984

[484]	validation_0-merror:0.22860

[485]	validation_0-merror:0.22776

[486]	validation_0-merror:0.22860

[487]	validation_0-merror:0.22860

[488]	validation_0-merror:0.22860

[489]	validation_0-merror:0.22818

[490]	validation_0-merror:0.22735

[491]	validation_0-merror:0.22693

[492]	validation_0-merror:0.22569

[493]	validation_0-merror:0.22610

[494]	validation_0-merror:0.22485

[495]	validation_0-merror:0.22485

[496]	validation_0-merror:0.22485

[497]	validation_0-merror:0.22444

[498]	validation_0-merror:0.22527

[499]	validation_0-merror:0.22485

[500]	validation_0-merror:0.22485

[501]	validation_0-merror:0.22444

[502]	validation_0-merror:0.22444

[503]	validation_0-merror:0.22402

[504]	validation_0-merror:0.22402

[505]	validation_0-merror:0.22527

[506]	validation_0-merror:0.22527

[507]	validation_0-merror:0.22485

[508]	validation_0-merror:0.22402

[509]	validation_0-merror:0.22444

[510]	validation_0-merror:0.22319

[511]	validation_0-merror:0.22319

[512]	validation_0-merror:0.22278

[513]	validation_0-merror:0.22402

[514]	validation_0-merror:0.22278

[515]	validation_0-merror:0.22278

[516]	validation_0-merror:0.22444

[517]	validation_0-merror:0.22402

[518]	validation_0-merror:0.22361

[519]	validation_0-merror:0.22236

[520]	validation_0-merror:0.22153

[521]	validation_0-merror:0.22236

[522]	validation_0-merror:0.22195

[523]	validation_0-merror:0.22278

[524]	validation_0-merror:0.22278

[525]	validation_0-merror:0.22195

[526]	validation_0-merror:0.22195

[527]	validation_0-merror:0.22153

[528]	validation_0-merror:0.22070

[529]	validation_0-merror:0.21987

[530]	validation_0-merror:0.21987

[531]	validation_0-merror:0.22070

[532]	validation_0-merror:0.22070

[533]	validation_0-merror:0.22070

[534]	validation_0-merror:0.22070

[535]	validation_0-merror:0.22278

[536]	validation_0-merror:0.22319

[537]	validation_0-merror:0.22070

[538]	validation_0-merror:0.22111

[539]	validation_0-merror:0.22111

[540]	validation_0-merror:0.22236

[541]	validation_0-merror:0.22153

[542]	validation_0-merror:0.22070

[543]	validation_0-merror:0.22111

[544]	validation_0-merror:0.22070

[545]	validation_0-merror:0.21945

[546]	validation_0-merror:0.21904

[547]	validation_0-merror:0.21862

[548]	validation_0-merror:0.21945

[549]	validation_0-merror:0.21904

[550]	validation_0-merror:0.21945

[551]	validation_0-merror:0.21945

[552]	validation_0-merror:0.21945

[553]	validation_0-merror:0.21987

[554]	validation_0-merror:0.21945

[555]	validation_0-merror:0.21945

[556]	validation_0-merror:0.21862

[557]	validation_0-merror:0.21862

[558]	validation_0-merror:0.21820

[559]	validation_0-merror:0.21862

[560]	validation_0-merror:0.21862

[561]	validation_0-merror:0.21820

[562]	validation_0-merror:0.21779

[563]	validation_0-merror:0.21696

[564]	validation_0-merror:0.21654

[565]	validation_0-merror:0.21654

[566]	validation_0-merror:0.21654

[567]	validation_0-merror:0.21654

[568]	validation_0-merror:0.21571

[569]	validation_0-merror:0.21571

[570]	validation_0-merror:0.21613

[571]	validation_0-merror:0.21571

[572]	validation_0-merror:0.21571

[573]	validation_0-merror:0.21571

[574]	validation_0-merror:0.21571

[575]	validation_0-merror:0.21530

[576]	validation_0-merror:0.21571

[577]	validation_0-merror:0.21446

[578]	validation_0-merror:0.21446

[579]	validation_0-merror:0.21363

[580]	validation_0-merror:0.21322

[581]	validation_0-merror:0.21363

[582]	validation_0-merror:0.21322

[583]	validation_0-merror:0.21322

[584]	validation_0-merror:0.21322

[585]	validation_0-merror:0.21322

[586]	validation_0-merror:0.21322

[587]	validation_0-merror:0.21363

[588]	validation_0-merror:0.21239

[589]	validation_0-merror:0.21239

[590]	validation_0-merror:0.21155

[591]	validation_0-merror:0.21155

[592]	validation_0-merror:0.21239

[593]	validation_0-merror:0.21239

[594]	validation_0-merror:0.21239

[595]	validation_0-merror:0.21322

[596]	validation_0-merror:0.21405

[597]	validation_0-merror:0.21280

[598]	validation_0-merror:0.21280

[599]	validation_0-merror:0.21197

[600]	validation_0-merror:0.21197

[601]	validation_0-merror:0.21155

[602]	validation_0-merror:0.21114

[603]	validation_0-merror:0.21114

[604]	validation_0-merror:0.21114

[605]	validation_0-merror:0.21239

[606]	validation_0-merror:0.21197

[607]	validation_0-merror:0.21197

[608]	validation_0-merror:0.21155

[609]	validation_0-merror:0.21155

[610]	validation_0-merror:0.21155

[611]	validation_0-merror:0.21197

[612]	validation_0-merror:0.21197

[613]	validation_0-merror:0.21155

[614]	validation_0-merror:0.21155

[615]	validation_0-merror:0.21239

[616]	validation_0-merror:0.21239

[617]	validation_0-merror:0.21155

[618]	validation_0-merror:0.21155

[619]	validation_0-merror:0.21155

[620]	validation_0-merror:0.21197

[621]	validation_0-merror:0.21197

[622]	validation_0-merror:0.21197

[623]	validation_0-merror:0.21072

[624]	validation_0-merror:0.20989

[625]	validation_0-merror:0.20989

[626]	validation_0-merror:0.20989

[627]	validation_0-merror:0.21031

[628]	validation_0-merror:0.20989

[629]	validation_0-merror:0.20948

[630]	validation_0-merror:0.21031

[631]	validation_0-merror:0.21031

[632]	validation_0-merror:0.20989

[633]	validation_0-merror:0.21031

[634]	validation_0-merror:0.21031

[635]	validation_0-merror:0.20989

[636]	validation_0-merror:0.20989

[637]	validation_0-merror:0.20948

[638]	validation_0-merror:0.20948

[639]	validation_0-merror:0.20989

[640]	validation_0-merror:0.21072

[641]	validation_0-merror:0.21114

[642]	validation_0-merror:0.21031

[643]	validation_0-merror:0.21114

[644]	validation_0-merror:0.21072

[645]	validation_0-merror:0.21031

[646]	validation_0-merror:0.20989

[647]	validation_0-merror:0.21031

[648]	validation_0-merror:0.21031

[649]	validation_0-merror:0.21072

[650]	validation_0-merror:0.21072

[651]	validation_0-merror:0.21114

[652]	validation_0-merror:0.21155

[653]	validation_0-merror:0.21155

[654]	validation_0-merror:0.21155

[655]	validation_0-merror:0.21155

[656]	validation_0-merror:0.21155

[657]	validation_0-merror:0.21155

[658]	validation_0-merror:0.21197

[659]	validation_0-merror:0.21197

[660]	validation_0-merror:0.21197

[661]	validation_0-merror:0.21197

[662]	validation_0-merror:0.21197

[663]	validation_0-merror:0.21197

[664]	validation_0-merror:0.21155

[665]	validation_0-merror:0.21155

[666]	validation_0-merror:0.21155

[667]	validation_0-merror:0.21155

[668]	validation_0-merror:0.21155

[669]	validation_0-merror:0.21114

[670]	validation_0-merror:0.21072

[671]	validation_0-merror:0.21114

[672]	validation_0-merror:0.21072

[673]	validation_0-merror:0.21072

[674]	validation_0-merror:0.21072

[675]	validation_0-merror:0.21072

[676]	validation_0-merror:0.21155

[677]	validation_0-merror:0.21114

[678]	validation_0-merror:0.21114

[679]	validation_0-merror:0.21114

XGBoost training complete.

Making predictions on the test set with the hybrid model...

--- Evaluation Metrics for Hybrid Model (CNN Embeddings + Features + XGBoost) ---

Peptide Classification Confusion Matrix - Test Set:

[[203  28   8  84  11   3   6]

[ 10 304   4  14   6   5   0]

[  5  13 299  12   6   0   9]

[ 75  28  11 204  12   6   8]

[ 17   1   3   8 294  14   7]

[  4   0   1   1   8 329   1]

[ 24   4   9  22  12   4 269]]

Peptide Classification Report - Test Set:

precision    recall  f1-score   support

guesthost_Ala       0.60      0.59      0.60       343

guesthost_Leu       0.80      0.89      0.84       343

guesthost_Phe       0.89      0.87      0.88       344

guesthost_Thr       0.59      0.59      0.59       344

guesthost_Trp       0.84      0.85      0.85       344

guesthost_TrpDL       0.91      0.96      0.93       344

guesthost_Tyr       0.90      0.78      0.84       344

accuracy                           0.79      2406

macro avg       0.79      0.79      0.79      2406

weighted avg       0.79      0.79      0.79      2406

Overall Peptide Classification Accuracy: 0.7905

Macro-averaged Precision: 0.7913

Macro-averaged Recall: 0.7905

Macro-averaged F1-score: 0.7899

Confusion matrix plot saved to /Users/bakrantz/Documents/python/xgboost-classifier-with-features-and-sequence-embeddings/plots/hybrid_cnn_embeddings_plus_features_XGBoost_peptide_classification_confusion_matrix.png

(tf-macos) bakrantz@Bryans-MacBook-Pro xgboost-classifier-with-features-and-sequ